HMO FIRE SAFETY CHECKLIST

| Address |  |
| --- | --- |
|  |  | Postcode |
| Agent:- | Contact Tel No:- |
| Premises HMO Reference:- |  |
| Note: Sections which are shaded are considered to pose a heightened risk and these should be reported to the relevant Fire Safety Department. | Yes | No |
| Has a Fire Safety Risk Assessment been carried out and a copy available for audit? |  |  |
| Has the risk assessment been reviewed in the previous 12 months? |  |  |
| Escape Routes | Since the last application are there any additional rooms used as sleeping accommodation on any floor over 7.5m? |  |  |
|  | Since the last application are there any additional bedrooms used as sleeping accommodation in a basement? |  |  |
|  | Since last application are there any additional inner rooms used as sleeping accommodation? |  |  |
|  | Are escape routes protected with fire-resisting construction and nominal fire doors? |  |  |
|  | Are escape routes clear of obstruction? |  |  |
|  | Are all fire action notices displayed and clearly visible? |  |  |
| Doors and Exits | Do emergency exit doors open from the inside without use of a key? (an emergency key is NOT an acceptable compromise) |  |  |
|  | Are self-closing nominal fire doors kept closed and the self-closers working? |  |  |
|  | Where fitted, are hold open devices or swing free arms working? |  |  |
|  | Are nominal fire doors fitted with intumescent strips and cold smoke seals? |  |  |
| Firefighting Equipment (Extinguishers) | Is the firefighting equipment adequate for the risk in the premises (number, type, location)? * |  |  |
|  | Is firefighting equipment maintained annually and recorded on the test labels and in a Log Book? |  |  |
| Automatic Fire Detection | Are there working interlinked hard wired smoke and heat detectors in the premises? |  |  |
|  | Can the system be heard throughout the premises? |  |  |
|  | Is the system tested weekly/monthly and the results recorded in a Log Book? |  |  |
|  | Is the system maintained annually by a competent person and recorded in a Log Book? |  |  |
| Emergency Lighting | Are there working emergency lighting units provided in escape routes? |  |  |
|  | Is the system tested monthly and the results of tests recorded in a Log Book? |  |  |
|  | Is the system maintained annually by a competent person and recorded in a Log Book? |  |  |
| General | Is there an up to date Fire Log Book including test certificates available for audit? |  |  |

* The minimum standard would be a fire blanket in the kitchen and at least a 13A rated extinguisher on each level.

Additional Information