HMO Application Form

Attached are the following documents:

- HMO Application form

- Building Standards `Pro-Forma’

- Fire Safety Checklist

In order that your application can be processed the three forms detailed above require to be completed and returned to your local Licensing Office (as detailed in the enclosed guidance) or Highland Council Service Point.

### For Official Use: Cash Office/Service Point

| # FEE PAID | £ |  |
| --- | --- | --- |
| RECEIPT NO. |  |  |
| DATE RECEIVED |  |  |
| RECEIVED BY (SERVICE POINT & INITIALS) |  |  |

HOUSING (SCOTLAND) ACT 2006 – PART 5

APPLICATION FOR THE GRANT OR RENEWAL OF

A LICENCE FOR A HOUSE IN MULTIPLE OCCUPATION

PLEASE NOTE THAT THE APPLICANT(S) FOR LICENCE MUST BE THE OWNER (S) OF THE PROPERTY TO BE LICENSED

Please answer Question 1 or 2, and all other questions

| 1. To be completed if a natural person (ie individual) (a) Full Name (Block Letters) | Surname: |  | Forename(s): |  |
| --- | --- | --- | --- | --- |
| (b) Home Address Telephone No. Mobile No. Email Address |  |  |  |  |
| (c) Age, Date and Place of Birth | Age | Date of Birth |  | Place of Birth |
| (d) Does applicant propose to operate the HMO? If not, give full name, address, date of birth and place of birth of any employee or agent who will manage the operation of the premises. |  |  |  |  |
| 2. To be completed if not a natural person (eg Company or Partnership) (a) Full Name |  |  |  |  |
| (b) Address of Principal Registered Office Telephone No. Mobile No. Email Address |  |  |  |  |
| (c) Full names, private addresses, dates of birth and place of birth of all directors, partners or other persons responsible for the management of the business. |  |  |  |  |
| (d) Full name, address, date of birth and place of birth of employee or agent to carry on day-to-day management of the business. |  |  |  |  |
| 3. Will the activity be operated for the benefit of a person other than the applicant? If so, give the full name, address, date of birth and place of birth of that person | YES/NO |  |  |  |

| - (a) Have you previously held or do you hold a House in Multiple Occupation Licence. If YES, when was the licence granted? When did / does it expire? What was/is the licence number? Which Authority granted the licence? (b) Have you ever applied for and been refused a House in Multiple Occupation Licence? If YES, when were you refused? Which Authority refused the licence? |  |  | YES / NO YES / NO |  |  |
| --- | --- | --- | --- | --- | --- |
| - Name (if any) and address of the premises for which a licence is required |  |  |  |  |  |  |
| - Please give a general description of the type of premises (e.g bungalow,flat (specify floor(s)) etc.) |  |  |  |  |  |  |
| 6a Do you own the property detailed in question 5 above. |  |  | YES/NO |  |  |  |
| - Please specify the number of rooms used as - Bedrooms - Bed Sitting Rooms - Bathrooms - Kitchens - Lounges - Others (please specify) |  |  |  |  |  |  |
| 8. a. Does the owner or owners family live in the premises. b. If so please provide the total number of owner(s) & family residents in the premises. |  |  | YES/NO |  |  |  |
| 9. Please provide the total number of tenants to be accommodated on the premises at any one time. |  |  |  |  |  |  |
| 10. Total number of occupants (add answer to Q8 & Q9 together) |  |  |  |  |  |  |
| 11. Does the applicant propose to prepare meals for tenants on the premises? If YES what meals are to be prepared |  |  | YES/NO |  |  |  |
| 12. If appropriate, has planning permission under the terms of the Town and Country Planning (Scotland) Acts been applied for in respect of the use of the premises for Houses in Multiple Occupation? Has a Building Warrant been obtained for alterations to the premises ? If YES, give details and date of lodging of applications and, if applicable, date of planning permission granted / completion certificate obtained. |  |  | YES/NO |  |  |  |
| 13. Subject to the provisions of the Rehabilitation of Offenders Act 1974, has any party named in Question 1 or 2 above ever been convicted of any crime or offence? Please note that any foreign convictions should be declared (continue on a separate sheet if necessary). Please read the guidance notes accompanying this form before completing this section. |  |  |  |  |  |
| Name of Person | Date | Court |  | Offence | Sentence |

I DECLARE

(1)	that I/we are the owners of the property to be licensed.

(2)	that the particulars given by me on this form are true and I hereby make application to The Highland Council for the grant or renewal of the licence applied for, and

(3)	that I understand that the fee for this application does not incorporate a fee for the inspection of the premises by the Scottish Fire and Rescue Service and that I will pay a separate fee for such an inspection, if required.

4 (A)	   That I/We shall, for a period of 21 days commencing with the date hereof, display at or near the premises so that it can conveniently be read by the public, a notice complying with the requirements of Paragraph 2 of Schedule 4 of the Housing (Scotland) Act 2006.

# Or

4 (B)	    That I am/ we are not required to display a notice as the application is in respect of premises to be used as a womens refuge.

(5)   	    I/we give consent for a Foreign Convictions Check to be carried out.

*Delete 4(A) or 4(B) as appropriate.  Where declaration (A) is made there must be produced as soon as possible after the 21 days a Certificate that the Applicant has displayed the Notice.

Data protection - the information you have supplied will be used for the purpose for which you have provided it and any relevant procedures following from this. This data will be maintained in accordance with the Data Protection Legislation and will not be passed on or sold to any other organisation without your prior approval unless this is a legal requirement. A copy of the Council’s Privacy Policy is available to view in the following link https://www.highland.gov.uk/directory_record/1036156/civic_government_licence

Date................................................       Signature of Applicant.........................................

or Agent

Agent's Address....................................................                                                                                                                                         ......................................................

......................................................

NB   Any person who in or in connection with the making of this application makes any statement which he/she knows to be false or recklessly makes any statement which is false in a material particular shall be guilty of an offence and liable, on summary conviction, to a fine not exceeding level 5 on the Standard Scale.

TO BE LODGED WITH YOUR LOCAL LICENSING OFFICE OR HIGHLAND COUNCIL SERVICE POINT WITH THE APPROPRIATE FEE AS DETAILED IN THE GUIDANCE NOTES ACCOMPANYING THIS FORM.

PLEASE NOTE THAT THE FEE WHICH IS PAID ON SUBMISSION OF YOUR APPLICATION WILL NOT BE REFUNDED IF YOUR APPLICATION IS REFUSED OR WITHDRAWN.

HMO – BUILDING STANDARDS – PRO-FORMA

Name:                                                          Address of Property:                            .

VENTILATION REQUIRED FOR COMBUSTION                              Please tick () as appropriate:

|  | SOLID FUEL | YES | NO | N/A |
| --- | --- | --- | --- | --- |
| SUPPLY AIR | Has an annual inspection/cleaning of chimney and flues been carried out and has certification been obtained? |  |  |  |
|  | Does any solid fuel appliance (including biomass boilers) within the HMO have adequate supply of air for combustion by way of permanent ventilation, either direct to open air or to an adjoining space (including a sub-floor space) that is itself permanently ventilated direct to open air? NB An air supply provided as follow will satisfy this requirement:- - Traditional open fuel fire: 50% of the cross-sectional area of the throat or the flue as appropriate; or - Any other solid fuel appliance: a permanent air opening or openings with a total free area of 550mm² for each KW of combustion appliance ratio output over 5KW. |  |  |  |
| Carbon Monoxide Detectors | Has a CO (carbon monoxide) detector complying with BS EN 50291-1: 2010 been installed within the room containing the combustion appliance. |  |  |  |
|  | OIL FIRED |  |  |  |
| SUPPLY AIR | Does any oil fired appliance within the HMO, other than a room sealed appliance, have adequate supply air for combustion by way of permanent ventilation either direct to open air or to an adjoining space (including a sub-floor space) which is itself directly ventilated to open air? NB: Compliance to with Section 4 of BS 5410: Part 1: 1997 or OFTEC Technical Information Sheet T1/112 and T1/132 will satisfy this requirement. |  |  |  |
|  |  | YES | NO | N/A |
| AIR FOR COOLING | Does any oil fired appliance installed within a confined space within the HMO have an adequate supply of air for cooling by way of permanent ventilation, in addition to air for combustion, either direct to the open air or to an adjoining space (including a sub-floor space)? NB Compliance with Clause 4.4.3 of BS 5410: Part 1: 1997 will satisfy this requirement. |  |  |  |
| Carbon Monoxide Detectors | Has a CO (carbon monoxide) detector complying with BS EN 50291-1: 2010 been installed within the room containing the combustion appliance. |  |  |  |
|  | GAS FIRED |  |  |  |
| SUPPLY AIR | Does any gas-fired appliance within the HMO have adequate supply air for combustion? NB: Compliance with the following British Standards will satisfy this requirement:- - BS 5871: Part 3: 2001 for fuel effect gas appliances; - BS 5871: Part 2: 2001 for an inset live fuel effect gas appliance; - BS 5440: Part 2: 2000 for any other gas fired appliance. |  |  |  |
| AIR FOR COOLING | Does any gas-fired appliance within a confined space within the HMO have an adequate supply of air for cooling? NB: Compliance with BS 5440: Part 2: 2000 will satisfy this requirement. |  |  |  |
| EXTRACT FANS | If an extract fan is fitted within the same room (or in an adjoining room) as an open flued appliance has a spillage test been carried out to ensure the combustion appliance is operation safely? NB: Testing to the following guidance will satisfy this requirement. - for a solid fuel appliance, BRE Information Paper IP 7/94 (Note an extract form shall not be fitted in the same room as an open-flued solid fuel appliance). - for an oil fired appliance, Clause 4.4.7 of BS 5410: Part 1 – 1997 and OFTEC Technical Information Note T/112 - for a gas-fired appliance, Clause 4.3.2.3 of BS 5440: Part 1: 2000. |  |  |  |
| Carbon Monoxide Detectors | Has a CO (carbon monoxide) detector complying with BS EN 50291-1: 2010 been installed within the room containing the combustion appliance. |  |  |  |

APPENDIX 1

FIRE SAFETY CHECKLIST PERMANENT STRUCTURES

See www.firescotland.gov.uk for details of fire laws

| Name of Applicant |  |  | Application Ref. No. |  | ____/______ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| # Name and Address of ##### Premises (inc. postcode) |  |  |  |  |  |  |  |
| # Type of License |  |  |  |  |  |  |  |
| ## Please tick () as appropriate including the first question on Risk Assessment |  |  |  | #### Yes |  | No | N/A |
| ## Have you carried out a Fire Safety Risk Assessment for your premises? | (See guidance notes including reference to sector specific guide which should be kept on the premises) |  |  |  |  |  |  |
| ## Escape Routes | ### Are all your escape routes clear of obstruction? |  |  |  |  |  |  |
|  | Are all fire exit signs and notices clearly visible? |  |  |  |  |  |  |
| ## Doors | Do your emergency exits open without use of a key? |  |  |  |  |  |  |
|  | Do push bars/pads operate easily (where fitted)? |  |  |  |  |  |  |
|  | Are self-closing doors kept closed and self-closers working? |  |  |  |  |  |  |
| Firefighting Equipment (Extinguishers) | Is firefighting equipment adequate for the risk in your premises (number, type, location)? (see guidance notes) |  |  |  |  |  |  |
|  | Is firefighting equipment maintained annually (see guidance notes) and recorded on the test labels and in your Log Book? |  |  |  |  |  |  |
| Fire Warning System (Fire Alarm) | ### Is the system tested weekly using a different call point each week and recorded in your Log Book? |  |  |  |  |  |  |
|  | Can the system be heard throughout your premises particularly by sleeping residents? |  |  |  |  |  |  |
|  | Are break glass call points visible and free from obstruction? |  |  |  |  |  |  |
| Automatic fire detection (if fitted) | Is the AFD system suitable for the risk in your premises (type, location of heads)? |  |  |  |  |  |  |
|  | Is the system maintained six-monthly and recorded in your Log Book (see guidance notes)? |  |  |  |  |  |  |
| Emergency lighting | Is the system tested (see guidance notes) and the results of tests recorded in your Log Book? |  |  |  |  |  |  |
|  | Are all light fittings in place and undamaged? |  |  |  |  |  |  |
| Emergency Fire Action Plan | Is the emergency fire action plan adequate for your premises (see guidance notes)? |  |  |  |  |  |  |
|  | Are fire routine notices clearly visible and accurate? |  |  |  |  |  |  |
| Staff Training (HMOs Residents’ information) | Does your staff or residents know what to do if a fire occurs (see guidance notes)? Have you considered how to evacuate disabled persons WITHOUT relying on the Fire & Rescue Service? |  |  |  |  |  |  |
|  | Is staff fire training recorded in your Log Book? |  |  |  |  |  |  |
| General | Have you reviewed your Fire Safety Risk Assessment in the last year? |  |  |  |  |  |  |
|  | Is your Log Book up to date and any test certificates available? |  |  |  |  |  |  |

APPENDIX 1

IF YOU HAVE ANSWERED NO TO ANY QUESTION THEN YOUR FIRE SAFETY PROVISIONS ARE INADEQUATE AND REQUIRE IMMEDIATE ATTENTION

I agree to the information provided in this form being shared with the Fire Authority.

DECLARATION: I declare that the above Fire Safety Checklist has been completed accurately and that all inadequate provisions have been rectified.

Signed…………………………………………………….(Applicant)

Date…………………………………….

Print name……………………………………………..

You are requested to complete this Fire Safety Checklist and send it to your local Fire & Rescue Service at Scottish Fire & Rescue Service, 16 Harbour Road, Inverness, IV1 1TB.

Failure to do this may result in delay in the processing of your application and/or objection by the local Fire and Rescue Service.

GUIDANCE NOTES

For

FIRE SAFETY CHECKLIST

For compliance with

The Fire (Scotland) Act 2005 Part 3

The Fire Safety (Scotland) Regulations 2006

To the Applicant: You have received a Fire Safety Checklist form as part of the application pack for your licence/variation. Please complete the form and sign the declaration at the end. By doing so you will declare that your premises are safe for your customers and staff, and you have complied with the fire safety regulations above. Please note:

- The Fire and Rescue Service may inspect your premises to confirm your compliance, or to enforce the regulations if necessary

- Your application will not be processed without a completed Fire Safety Checklist.

These guidance notes are intended as a basic guide to help you complete the Fire Safety Checklist. The notes contain basic guidance only. For guidance that is more detailed you should read the sector specific guidance within the information on (www.firelawscotland.org) or ask your local Fire Safety Enforcement Officer for advice.

Who should complete the Fire Safety Checklist?

You, the applicant, should complete the form. Within the regulations above you are considered the Responsible Person, as you will have responsibility for the management, including fire safety management, of the premises. You should also be the person most able to complete the Fire Safety Checklist (Appendix 1 or 1(a)) due to your knowledge of your premises, and to rectify any deficiencies before submitting your application. If you choose to nominate someone else to complete out the Checklist, you must still sign the declaration and take responsibility for any deficiencies.

How should the Fire Safety Checklist be completed?

The Fire Safety Checklist is a basic survey of the fire safety measures in your premises. It asks the same questions that you should ask when carrying out a full risk assessment. Answers are limited to Yes, No or Not Applicable (N/A) and you simply tick the relevant box. To help you, some boxes are blanked out, as these answers would be incorrect.

Take time to read these guidance notes and the form and then inspect/review the Fire Safety provision within the premises. Review your fire safety risk assessment (you could review it at the same time), log book and other relevant records. If you do not personally carry out any tests or training, speak to the person who does. These simple steps should give you all the information you need.

How do I know what is inadequate?

Most fire safety precautions are based upon common sense. For example, if a self-closing fire door is wedged open it is inadequate, but can be fixed by removing the wedge and instructing staff. Competent persons should maintain more complex precautions, such as fire alarm systems, and you should have records of this in your logbook. If in doubt, you could test a system to make sure it works.

If any fire safety precaution is inadequate, or you are not sure, answer NO. After the survey, you should plan how you will rectify the inadequacies.

Completing the Fire Safety Checklist Form

Applicant Information: Please ensure that your name and address are clearly legible.

## Fire Risk Assessment: The fire safety Regulations above require a Responsible Person to carry out a fire risk assessment in the workplace. This is usually the person responsible for management in the workplace. The risk assessment should:

- Assess the risk of fire in the premises, and any control measures that can reduce risk,

- Check that fire can be detected in a reasonable time and people can be warned of fire,

- Check that all people in the premises can evacuate safely,

- provide suitable fire fighting equipment,

- Ensure that those in the premises know what to do in the event of fire, and

- Ensure testing and maintenance of fire safety equipment and systems takes place.

As you are applying for Licence under an enactment, there must be a written record of the significant findings of the assessment. Any action plan resulting from the assessment should also be recorded. The fire risk assessment should be reviewed at least once a year, or when there are significant changes in staff, layout process or fire loading in the premises. Note the checklist does not constitute the full Fire Risk Assessment required by the 2005 Act.

Escape Routes and Doors: All escape routes must be kept clear and available for use at all times that the premises are occupied. You should not store anything that would obstruct or any flammable materials on an escape route, even temporarily. For guidance, an escape route should not be narrower than any doorway on the route. Fire exit signs and notices are used to direct people to the escape route and as such must be visible and legible. If in doubt, try following the escape route yourself.

For security reasons an emergency exit door can be secured with a push bar/pad or similar device. These must work easily, without undue pressure on them. Emergency exits must not be locked when the building is occupied.

Some doors are fire resisting and self-closing. These are designed to stop fire spread, giving more time for escape and reducing damage. They are only effective if they are a good fit in the frame, close fully from any angle and are not wedged or held open.

Fire Fighting Equipment:  The number, type and location of fire extinguishers should be determined by the fire risk assessment. Usually you will need to provide fire extinguishers for general firefighting and to cover special risks. If you have a kitchen, you will also need a fire blanket for the hazards associated with cooking.

General: the most common general fire extinguisher is the water type. As a rule of thumb, you should provide one 9-litre water extinguisher per 200 square metres of floor area, with at least two extinguishers per floor (or one per floor if the floor area is less than 100 square metres). Other types that can be used are foam, AFFF (sometimes-called light water or spray foam), dry powder or carbon dioxide, but the size needed varies according to the type and size of risk. Fire extinguishers for general firefighting should be sited on escape routes, at or near the final exit.

Special Risk: risks such as computer rooms, electrical equipment, large fridges etc. will need fire extinguishers that are appropriate to the risk, do not cause injury to the user, or cause undue damage to the equipment. You should seek specialist advice about fire extinguishers for special risks.

Fire Warning Systems and Automatic Fire Detection: All registered premises should have a means of warning staff and customers that there is a fire, so that they can make their escape. The type of system is determined by the fire risk assessment and must take into account the layout, background noise, staff locations etc. and whether any person (staff or customers) can use the system without putting themselves in further danger.

The type of system can range from simple break glass call-points, with a bell or siren, to complex systems with automatic smoke or heat detectors, a control panel, automatic calling of the fire and rescue service and bells or sirens in the building. The alarm signal must be capable of being heard throughout the building, and in any outbuildings. All fire warning or a competent engineer, to the current British Standard or equivalent, should install detection systems. Mains electric systems must have a battery back up for the sounders and usually this will power the entire system in the event of a mains failure. If you doubt the existing system is adequate, either test it, or seek specialist advice.

All fire alarms should be backed up with a 999 call to the fire and rescue service, even where automatic calling is fitted. Members of staff or residents should be delegated to do this from a safe location.

Response to avoidable unwanted fire signals (false alarms) places an unnecessary burden on the resources of the Scottish Fire and Rescue Service, and endangers the safety of fire crews and the general public. Disruption caused in your premises by false alarms places similar unnecessary burdens on your business, your employees and (where applicable) your residents. It is your responsibility to prevent false alarms, however the Scottish Fire and Rescue Service is committed to reducing unwanted fire calls and will offer support and advice if requested.

Emergency Lighting: All escape routes, including external routes, must be provided with sufficient lighting for people to see the way out safely. In normal conditions, this can be a mixture of artificial lighting inside and street lighting outside. To test this, you could turn off the lights at night and find out whether you can walk the escape route safely.

To allow for power failure the fire risk assessment should include provision of emergency lighting. This will depend on layout and size of the premises, but should be sufficient to allow anyone in the premises to find the escape route and walk out safely.

Emergency Fire Action Plan and Staff Training: Your fire risk assessment should ensure that people in your premises know what to do if a fire occurs. You should work out a simple emergency fire action plan including:

- What to do if you (or a user or one of your staff) discover a fire

- How to sound the fire alarm

- How to call the fire and rescue service

- What to do if you (or users or staff) hear the fire alarm i.e. escape from the premises

- Where to assemble outside, in a place of safety

You should provide fire routine notices (sometimes called fire action notices) in public areas, staff rooms and corridors. These can be bought as pre-printed notices or notices with blank spaces that you fill in with information relevant to your fire routine.

All Staff should be trained regularly to ensure that they know what you expect them to do if fire occurs. Anyone with a special responsibility e.g. calling the fire and rescue service, or checking  rooms, should be specifically trained to carry out their designated role. The emergency actions in the event of fire should be tested with regular fire drills. There are no fixed intervals for staff training, but all staff should receive training on their induction, and refresher training should be provided as appropriate. It is recommended that staff fire training be carried out at least once a year after the initial training. Details of the training and who received it should be recorded in the logbook.

Fire Drills The frequency of drills for each building will be different and should reflect the level of risk. Fire drills should take place at least twice a year with each member of staff participating at least once a year.

Log Book: You are responsible for ensuring that all fire safety systems and staff training are fully effective. The best way to do this is regular maintenance and training, and the best evidence of this is a fire logbook that is used to record this. There is no fixed format for a logbook, but it should contain all relevant information e.g. dates and results of tests, dates and names from training sessions.

Testing and maintenance is usually covered by codes of practice and a competent, adequately trained or experienced person should always carry out tests. A competent person should carry out staff training. You may be competent to carry out some or all of the tests and training, but if in doubt you should seek advice.

WARNING: Failure to adequately maintain or manage any fire safety system may also be deemed to place employees and others in danger, which contravenes the Fire Safety Regulations above. This may lead to criminal prosecution.

Recommended frequency of testing and maintenance:

| # SYSTEM/TRAINING | # WEEKLY | # MONTHLY | # THREE MONTHLY | # SIX # MONTHLY | # ANNUALLY |
| --- | --- | --- | --- | --- | --- |
| Escape Routes and Doors | Visual check, test doors |  |  |  |  |
| Fire Notices | Visual Check |  |  |  |  |
| Fire Extinguishers | Visual check for leaks, tampering |  |  |  | Service and Test |
| Fire Warning System | System test |  |  | Inspection and Service |  |
| Automatic Fire Detection |  |  |  | Inspection and Service |  |
| Emergency Lighting |  | System test |  |  | Discharge |
| Staff Fire Training* |  |  |  |  | Refresher training |
| Fire Drill |  |  |  | Fire Drill |  |
| Fire Risk Assessment |  |  |  |  | Review |

*Staff training must be provided on induction. Permanent night duty staff require training that is more frequent.

Advice is also available on www.firelawscotland.org

EQUAL OPPORTUNITIES MONITORING FORM QUESTIONS

Introduction to Equalities Form:

In order to check the effectiveness of our equal opportunities policy we monitor a range of areas where people may experience discrimination. We would be pleased if you would complete the form below. The information you give will not be available to people involved in the application process and will be used for monitoring purposes only. All information will be treated in strict confidence and no names will be shown in any statistics produced.

Data Protection Act 1998

Information you provide in this form will be processed fairly and lawfully for the following purposes:

- For administrative purposes, reporting, monitoring data and using information as statistical data for strategic planning.

- For equal opportunities monitoring.

Question 1: Gender Identity - 1

How would you describe your gender?

| Female |  |
| --- | --- |
| Male |  |
| Prefer not to answer |  |

Question 2: Gender Identity - 2

Have you ever identified as a transgender person or trans person?

(For the purpose of this question “transgender” is defined as an individual who lives, or wants to live, full time in the gender opposite to that they were assigned at birth)

| Yes |  |
| --- | --- |
| No |  |
| Prefer not to answer |  |

Question 3: Age

Please tick one box:-

| 18-24 |  |
| --- | --- |
| 25-34 |  |
| 35-44 |  |
| 45-54 |  |
| 55-64 |  |
| 65-74 |  |
| 75+ |  |
| Prefer not to answer |  |

Question 4: Religion or Belief

What is your Religion or Belief?

| Buddhist |  |
| --- | --- |
| Church of Scotland |  |
| Hindu |  |
| Humanist |  |
| Jewish |  |
| Muslim |  |
| None |  |
| Other Christian |  |
| Sikh |  |
| Pagan |  |
| Roman Catholic |  |
| Prefer not to answer |  |
| Other Religion or Belief, please specify (FREE TEXT): |  |

Question 5: Ethnic Group

What is your ethnic group? Choose one from section A to F

| A. White |  |  |  |  |
| --- | --- | --- | --- | --- |
| Scottish |  |  |  |  |
| Other British |  |  |  |  |
| Irish |  |  |  |  |
| Gypsy/Traveller |  |  |  |  |
| Polish |  |  |  |  |
| Other white ethnic group |  |  |  |  |
| B. Mixed or Multiple Ethnic Group |  |  |  |  |
| Any mixed or multiple ethnic groups |  |  |  |  |
| C. Asian, Asian Scottish or Asian British |  |  |  |  |
| Pakistani, Pakistani Scottish or Pakistani British |  |  |  |  |
| Indian, Indian Scottish or Indian British |  |  |  |  |
| Bangladeshi, Bangladeshi Scottish or Bangladeshi British |  |  |  |  |
| Chinese, Chinese Scottish or Chinese British |  |  |  |  |
| Other |  |  |  |  |
| D. African |  |  |  |  |
| African, African Scottish or African British |  |  |  |  |
| Other |  |  |  |  |
| E. Caribbean or Black |  |  |  |  |
| Caribbean, Caribbean Scottish or Caribbean British |  |  |  |  |
| Black, Black Scottish or Black British |  |  |  |  |
| Other |  |  |  |  |
| F. African |  |  |  |  |
| Arab, Arab Scottish or Arab British |  |  |  |  |
| Other |  |  |  |  |
| Prefer not to answer |  |  |  |  |
| Other, please specify (FREE TEXT) |  |  |  |  |

Question 6a: Disability

Under the terms of the Equality Act 2010, a disability is defined as a physical or mental impairment, which has a substantial and long-term adverse effect on a person's ability to carry out day-to-day tasks.   

Do you consider that you have a disability?

| Yes |  |
| --- | --- |
| No |  |
| Prefer not to answer |  |

Question 6b: Disability (Impairment)

If yes to the above question, please state the type of impairment which applies to you. If none of the categories apply, please mark 'Other' and specify the type of impairment.

| Deafness or partial hearing loss |  |
| --- | --- |
| Blindness or partial sight loss |  |
| Learning disability for example, Down’s Syndrome |  |
| Learning difficulty for example, dyslexia |  |
| Developmental disorder for example, Autistic Spectrum Disorder or Asperger’s Syndrome |  |
| Physical disability |  |
| Mental health condition |  |
| Long-term illness, disease or condition |  |
| Prefer not to answer |  |

Question 7: Sexual Orientation

What is your sexual orientation?

| Bisexual |  |
| --- | --- |
| Gay |  |
| Heterosexual/Straight |  |
| Lesbian |  |
| Prefer not to answer |  |