| Project: |  |  |  |  |  |  |  |  | RA No. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Activity: | Fire Risk Assessment |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |
| Risk Ratings: | Likelihood |  |  | Highly Likely |  | M | H |  |  | H |  |  |  |  |  |
|  |  |  |  | Likely |  | L | M |  |  | H |  |  |  |  |  |
|  |  |  |  | Unlikely |  | L | L |  |  | M |  |  |  |  |  |
|  |  |  |  |  |  | Minor Injury / Slight Damage to Property | Up to 7 Day injury / Moderate Damage to Property / Part Evacuation of Event |  |  | Major Injury / Fatality / Large Scale Damage to Property / Complete Evacuation of Event |  |  |  |  |  |
|  |  |  |  |  |  | Severity |  |  |  |  |  |  |  |  |  |
| What are the hazards? |  | Who might be harmed and how? | Initial Risk Rating |  | What are you already doing? (Planning the works) |  |  | What further action needs to be taken? (During the Show) |  |  |  |  | Who needs to carry out the actions? |  | Residual Risk Rating |
| Sources of Ignition |  | Members of the Public, farmers, contractors, riggers, showground personnel, crew Smokers’ materials, damp hay, welding equipment, naked flames, wilful or malicious fire raising, static emergency, electrical fault | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Sources of Fuel and Oxygen |  | Members of the Public, farmers, contractors, riggers, showground personnel, Crew Rubbish including sawdust, shaving, paper, cardboard etc, textile fabrics, wall covering material, waste and/or clean fuel, pesticides, fertiliser | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Catering and Hospitality Areas |  | Members of the Public, farmers, contractors, showground personnel, Visitors Electric ovens fryers, waste material, generators, poor housekeeping | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Hot Surfaces, Obstruction of Ventilation Equipment, e.g. generators. |  | Members of the Public, farmers, contractors, showground personnel, Visitors Obstruction of ventilation equipment | H |  |  |  |  |  |  |  |  |  |  |  |  |
| LPG Storage & Use |  | Members of the Public, farmers, contractors, showground personnel, Visitors Flammable atmosphere, burns, explosions | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Means of Escape |  | Members of the Public, farmers, contractors, showground personnel, Visitors Restriction on existing escape routes leading to entrapment | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Means of Escape Lighting |  | Members of the Public, farmers, contractors, showground personnel, Visitors Restriction on existing escape routes, slips, trips | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Means of Detection and Raising the Alarm |  | Members of the Public, farmers, contractors, showground personnel, Visitors Restriction on existing escape routes, slips, trips | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Means of Fighting Fire |  | Members of the Public, farmers, contractors, showground personnel, Visitors Escape of buildings, burns, inhalation of smoke, | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency Fire Action Procedures |  | Members of the Public, farmers, contractors, showground personnel, Visitors | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Measures to restrict spread of fire and smoke |  | Members of the Public, farmers, contractors, showground personnel, Visitors Escape of buildings, burns, inhalation of smoke, | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire in Work Processes involved in build/load in etc. |  | Members of the Public, farmers, contractors, showground personnel, Visitors Escape of buildings, burns, inhalation of smoke, | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Car Parking Area, Vehicle Fires |  | Members of the Public, farmers, contractors, showground personnel, Visitors Explosion, fires, burns | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Electrical Fittings |  | Members of the Public, farmers, contractors, showground personnel, Visitors Fires, burns, damaged to building | H |  |  |  |  |  |  |  |  |  |  |  |  |
| General Areas used by All Show Ground Attendees |  | Members of the Public, farmers, contractors, showground personnel, Visitors Fires, burns, damaged to building, slips, trips | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Public Entrances and Exits |  | Members of the Public, farmers, contractors, showground personnel, Visitors Crowd Congestion, vehicular collision, slips, trips | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Ignition of dry organic materials in the car parking areas |  | Members of the Public, farmers, contractors, showground personnel, Visitors Explosion, fires, burns | H |  |  |  |  |  |  |  |  |  |  |  |  |
| Further Comments/Revisions: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Area | CO2 | Foam | Water | Dry Powder | Fire Blanket | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| Totals |  |  |  |  |  | Totals |

Emergency Services Likely Route will be from …….DETAIL

Map Showing the Position of the known Fire Hydrants within the Show Ground

SHOW MAP OF SITE INCLUDING STALLS