[image: image1.png]nghland
Council

A
V' \4
v

The Highland Community





Education Culture & Sport Service
PPP Project Manual

[image: image2.jpg]



[image: image3.jpg]AL yisitEs o
report ta Reception

Luchd-fadhail el dhol
| ean onad Failicachsis





Contents
21.
Introduction

1.1
Background
2
1.2
Member and Officer Arrangements for ECS Public Private Partnerships
2
2.
Monitoring the PPP1 Project Agreement
5
2.1
Introduction – ECS PPP1 Project Management & Monitoring Team
5
2.2
Role of Officers within the ECS PPP Project Management & Monitoring Team
5
3.
Roles at Establishment Level
10
3.1
Role of the School Board
10
3.2
Role of the Headteacher
10
3.3
Role of the Headteacher in Relation to Centre Coordinators, Public Librarians, Nursery school Staff and Further Education Staff
15
Appendix 1 - Procedures for Monitoring the Contract at Establishment Level.
17
Appendix 2  - PPP1 – Out with Core Hours Usage – Protocol
18
Appendix 3 – Community Use of Schools
19
Appendix 4 – the Service Specification (Extract from Project Agreement)
20
1.
Introduction
20
2.
Definitions, Interpretation and Construction
20
3.
Scope of Service
20
4.
Availability Standard and Performance Standards
20
4.2
Accommodation
21
4.3
FM Availability and Performance Requirements – Security Provision
22
4.4
FM Availability and Performance Requirements - Energy Management and Utilities Supply
26
4.5
FM Availability and Performance Requirements - Project Facility Fabric and Services Maintenance
30
4.6
FM Availability and Performance Requirements – Grounds Maintenance
37
4.7
FM Availability and Performance Requirements - Cleaning
45
4.8
 FM Availability and Performance Requirements – Pest Control
54
4.9
 FM Availability and Performance Requirements - Waste Management
57
4.10
 FM Availability and Performance Requirements - Disaster Management
59
4.11
 FM Availability and Performance Requirements - Fire and Emergency Management
61
4.12
 FM Availability and Performance Requirements – Help Desk
64


1. Introduction

This manual outlines how the Council manages the schools PPP process from contract close through construction to the operation of the schools.

Specifically, it details how the Education Culture and Sport (ECS) Service manages and monitors the Public Private Partnership (PPP1) Project Agreement, involving the provision of and services in four schools – Ardnamurchan High, Glen Urquhart High, Spean Bridge Primary and Strathdearn Primary.

1.1 Background

On 12th June 2001 the Highland Council signed a contract with Community Schools (Highland) Ltd. for the construction of two primary and two secondary schools and for the provision of specific services relating to these schools over a period of 25 years.

The purpose of this document is to detail how the ECS PPP (Education Culture & Sport Public Private Partnership) Contract is to be managed and monitored within the Highland Council.  It is a working document, in that as this is a new area of management for the Council, changes as a result of practice will inevitably occur.

It is also recognised that the Council has in the past, and may in the future, enter into PPP Contracts for other Services and may at a future date require to review its arrangements to embrace all effected Services.  

Additionally, in June 2002 the Highland Council was informed by the Scottish Executive that a second ECS Public Private Partnership Outline Business Case submitted to the Executive had been accepted. This provides for the possibility of a second contract for ten plus schools to be constructed between the years 2005 to 2008 by a private consortium and the provision of services by the Consortium over a twenty five to thirty year time period depending upon the date of entry into each completed building. Inclusion of this new Contract  may result in this manual being revised.
1.2 Member and Officer Arrangements for ECS Public Private Partnerships

Member Management

Officer Management


Member Management
The Highland Council has the strategic political overview of the PPP process.  Decisions regarding affordability are taken at this level.  Further decisions as regards the project are taken at ECS Committee level, or in the ECS PPP Sub Committee specially set up for this purpose.  This ECS PPP Sub Committee consist of the Education Portfolio Holders for each Highland Council political Area and Local Highland Council member’s in whose constituencies the PPP school’s were to be built, (if not already a Portfolio Holder).  The above proved satisfactory for the first PPP contract, and has therefore been continued into the second PPP, even although there has been a significant increase in the numbers of Members involved.

Delegation of Powers

Throughout the development stage of the second contract there will be a requirement to take decisions speedily without necessarily having sufficient time to refer these decisions to the full Council or the appropriate Committee.  This is particularly the case as the date of signing the contract approaches.  The Council delegates to the ECS PPP Sub Committee powers, within appropriate parameters, to deal with the day to day developmental issues arising in the contract negotiations. 
Reports

Reports are submitted to the appropriate Council committees described above when meetings are called.
Officer Management
PPP Project Board
A PPP Project Board, chaired by the Chief Executive, and including Directors of Education Culture and Sport, Corporate Services, Financial Services and Property & Architectural Services, Union Representatives and a Scottish Executive representative outlines the strategy for the development of the project and in conjunction with the ECS PPP Sub committee monitors progress during all phases of the PPP procurement process and provides direction to the relevant PPP Project Management Team as required.  It should be noted that this Project Board oversees all ‘PPP’ type projects within the Council.
The Director of P&AS submits progress reports on the appropriate project.  Other Directors may also submit reports, depending on the issues to be addressed

PPP Project Team

The Director of Property and Architectural Services (P&AS) has the role of PPP Project Director, to deliver the project through negotiation, contract close, construction to operational phase, when monitoring of the contract passes to the appropriate Service. The Director of P&AS chairs the PPP Project Team, and inter service group charged with delivering the project to operational phase.  The PPP Project Team has members from Education Culture & Sport, Property & Architectural, Finance, and Corporate Services (Legal and Personnel) and, in addition, appoint appropriate external advisers as required.
ECS – Senior Management Team

The Contract provides for quarterly meetings (now in the light of experience, half yearly) between the Council and the Consortium.  The Director of Education Culture and Sport as the officer charged with responsibility for the operational phase of the contract, or his nominee, will lead the Council’s delegation to such meetings. 

Support is also available from other Services such as Property and Architectural Services, Financial Services and Corporate Services.
Council and Consortium agree the schedule of dates of future meetings, the method of recording such meetings, notifications and form in which an item can be placed on an agenda and how an agreed agenda is drawn up, reflecting the arrangements outlined in the Project Agreement.

Alterations, as allowed for in the Project Agreement, in the monthly Unitary Charge payable to the Consortium will be authorised by the Director of ECS, or the nominee, as required.

ECS - PPP Management & Monitoring Team and ECS PPP Unit
The PPP Management & Monitoring Team involve representatives from other Services (Finance, Property & Architectural and Corporate). Day to day monitoring of the Contract rests with the ECS PPP Unit.   The PPP Unit collects information on Performance and Availability from schools on a monthly basis, and ensures that the self-monitoring arrangements as outlined in the PPP Project Agreement are adhered to by the Contractor. 
Six monthly reports are submitted to the Education Culture & Sport Committee from the ECS Monitoring and Management Unit, outlining the Unitary Charge made in the period, the deductions applied, together with a commentary on the service delivered by the Contractor.

Headteachers of PPP Schools

Headteachers ensure that any issues that arise within their buildings as regards Performance and Availability are passed on to the PPP Unit timeously.  A proforma outlining any logged calls to the Help Desk system is completed each month and forwarded to the PPP Unit for monitoring and checking purposes.

The precise roles of officers are as detailed later in this document.
.
Management & Monitoring the PPP1 Project Agreement 
2.1 Introduction – ECS PPP1 Project Management & Monitoring Team
The Director of ECS has set up a PPP Unit to work on all aspects of Public Private Partnerships within ECS, and is accountable to the Head of Support Services within the ECS Senior Management Team.  Members from this Unit form the ECS representatives on the PPP1 Project Management & Monitoring Team. 
The PPP1 Management & Monitoring Team is chaired by the Head of Support Services, Education, Culture and Sport, or his nominee from the ECS PPP Unit.  This inter-service team, consisting of Officers from Education Culture and Sport, Financial Services, Property and Architectural Services and Corporate Services, will ensure the smooth running of the contract and deal with day to day issues raised by the Headteacher, Consortium, or from the teams own observation of the Contract.  

The point of contact with the consortium will be through the ECS Head of Support Services (or his/her nominee) although he/she may authorise direct contact between a member of the Project Monitoring Team and an officer of the Consortium while an on going issue is being resolved.

2.2 Role of Officers within the ECS PPP Project Monitoring Team
Role of Head of Support Services
The Head of Support Services in the Education, Culture and Sport Service fulfils three important roles in relation to the efficient running of a Public Private Partnership Contract.

Role in Relation to the ECS Senior Management Team
The Head of Support Services is responsible for Client oversight of the day to day monitoring of the Public Private Partnership contract.  While much of this responsibility will be delegated to members of the ECS PPP Unit, it is the responsibility of the Head of Service to inform the Senior Management Team through the Director of Education Culture and Sport of significant issues affecting, or identified as likely to affect, the smooth running of the contract.  Issues addressed by the Head of Support Service include:
· The level of satisfaction of staff, public and Local Council Members with the operation of the contract.

· Any variations to contract likely to be required as a result of weaknesses in original documentation and where appropriate associated cost of remediation.

· Any significant requests by the contractor to vary the contract.

· Requests for alteration to the terms of the contract by the Contractor

· Potential replacement of the facilities management provider

· Potential sale of the Contract

· Notices to the Contractor warning of potential termination of contract.

· Notices from the contractor warning of client default and potential termination of contract

Role in Relation to Management & Monitoring Team 
The Head of Support Services will lead the Council’s ECS PPP1 Management & Monitoring Team of mid tier officers during the operational stage of the Contract.  It is his/her responsibility to ensure that day to day issues relating to the contract are dealt with by the appropriate member of the team.
The Head of Support Services (or his/her nominee) will:

· Convene meetings of the team monthly to monitor the contract and allocate as necessary any tasks which have arisen through this monitoring.

· Meet on a monthly basis with his/her opposite officer in the consortium to resolve issues which have arisen over the previous month and monitor progress on issues previously discussed

· Advise the Director of Education Culture and Sport of areas of activity which have not been resolved.

· Annually develop the contract budget in conjunction with the Finance Officer

· Ensure that a schedule of annual maintenance of establishments is notified to Headteachers.

Role in Relation to External Bodies

The Head of Support Services plays a key role in progressing the property aspects of new local and Council wide initiatives originating from the Government, Council, external agencies and community groups.  It is the responsibility of the Head of Service to assess the impact which any such initiative might have on the PPP contract and negotiate as necessary the changes required to implement the initiative.   
Role of the Finance Officer
The Finance Officer is a member of the Project Monitoring Team.  The role of the Finance Officer will include:

· Consideration of any additional costs arising from any variation to contract either during the commissioning stage of the first PPP project or during the operational stage.

· Receiving from and agreeing with the ECS PPP Unit monthly deductions from the unitary payment as a result of accommodation or service failures.

· Receiving from and agreeing with the ECS PPP Unit any additions to the unitary charge e.g. as a result of letting of premises out with core hours or work carried out by the Contractor beyond the agreed specification on behalf of the Council or school.

· Compilation of the annual unitary charge for the project including any adjustments required due to excessive price rises for energy, water and sewage and rates.

· Financial oversight of market testing by the Council of facilities management services provided by the Contractor and as specified in the contract in order to set periodic price adjustments for these services. 
Role of the Property and Architectural Services (P&AS) Officer
The P&AS Officer is a member of the Project Management & Monitoring Team.  The remit of this Officer within the team is:

· To liase with the Headteacher, PPP Unit and Contractor with regard to any remedial action required to the School Building in the months immediately following the handover of the building for curriculum purposes at the start of the contract.

· To consider any complaints notified to him/her by the ECS PPP Unit in relation to property matters within the contract; assess the extent to which these are justified and recommend remedial action.   The Head of Support Services will raise these matters with the Contractor at scheduled meetings. 

· Provide comment and analysis to the Head of Support Services on the Contractor’s proposals for the maintenance of the building as per the Project Agreement.

· Check the annual maintenance schedule or any proposed building works in the school and assess the impact on the operation of the school including any Health and Safety requirements for the Council to meet its statutory duty.

· Carry out a bi-annual inspection of the buildings, taking into account the current and preceding Planned Maintenance Schedule in addition to Council Requirements as in the Project Agreement, and provide a report to the Head of Support Services.

· Discuss with the ECS PPP Unit any requests for alteration to the building to meet curricular or other needs, check for Best Value the estimated costing for such works supplied by the Contractor, and report through the Director of Property and Architectural Services to the Head of Support Services ECS.  The P&AS Officer will satisfy himself/herself concerning the Contractors proposals relating to any such alterations and monitor their progress.

· Towards the end of the contract and after the appropriate surveys the P&AS Officer through the Director of Property and Architectural Services will notify the Head of Support Services and Director of Education Culture and Sport, or any succeeding Director holding responsibility for Education, of any outstanding works required to the building and make recommendations for the use of the Rectification Reserve (as defined in Project Agreement) for remedial action as necessary, all as per the Handback table in the Project Agreement.  
It is unlikely that the P&AS Officer would be required to attend all meetings of the PPP Project Monitoring Team.

Role of Corporate Services Officer

The Corporate Services Officer is a member of the Project Management & Monitoring Team. While a member of Corporate Services will be a standing member of the project team the term Corporate Services Officer is a generic term covering a variety of personnel in that Service, e.g. a solicitor, or personnel officer.

It is unlikely that the Corporate Officer would be required to attend all meetings of the PPP Project Monitoring Team.

The remit of the Corporate Services Officer includes:

· Day to day interpretation of the Public Private Partnership contract to assist the client Service and Council

· Responding on behalf of the Council to any Notices served on the Council by the Contractor after due consultation with the PPP project group, Senior Management and the Member’s PPP group as necessary

· Serving notices on the Contractor on behalf of the Council as advised by the PPP Project Board and the Member’s PPP working group.

· Advising the Council when notified by the Contractor on strategic issues including any potential replacement of the Facilities Management Provider, notification by the Contractor of a significant sale of shares in the Contractor’s company or sale of Contract by the Contractor to another company.

· All matters in relation to transferred employees who were in the Council’s employ, and transferred under TUPE arrangements to the Consortium

· All matters related to the Council’s step in rights should a contract be terminated.

· Representation of the Council in any Arbitration situation before appropriate bodies 
The Role of the ECS PPP Unit
The Unit is accountable to the Head of Support Services in the Education Culture and Sport Service, and is responsible for the overall management of the Contract.  

Part of the remit of the ECS PPP Unit is to manage the day to day monitoring of the Contract.  

The main functions of the PPP Unit in its monitoring role include:

· monitoring the standard of the following services provided by the Contractor in relation to the contract Service Specification, which is listed in Appendix 4
· Receiving from the Headteacher monthly information relating to logged calls made by the school in relation to service failures and unavailability. 
· Receiving from the Headteacher information relating to monthly additions to Contractor payments in relation to additional Core Hours use
· Liaising with the Headteacher with regard to all aspects of first line monitoring of Contractor Service Provision and carry out spot checks as necessary in support of the Headteacher’s role as first line monitor.

· Keep the Headteacher advised on issues by forwarding minutes of the monthly Liaison Meetings described below
· To meet with Contractor Representatives on a monthly basis to discuss:

· Relevant aspects of service and accommodation failures, areas of particular concern, financial adjustments to the Contractor’s monthly income and solutions to continued service/accommodation failures.

· Raise with the Contractors Representative any issues relating to the conduct of Contractor’s staff and proposed actions by the Contractor to resolve such problems.

· Seek to resolve issues with the Contractor’s representative before they become serious.

· Monitor the accumulation of penalty points/deductions by the Contractor and:

· Forewarn the Head of Support Services when such an accumulation is approaching the stage where the Council is likely to serve a Notice on the Contractor requiring service improvement and commencing the first stage of potential contract termination.

· Inform the Head of Support Services when such  an accumulation of penalty points has reached the stage of issuing a First Stage and any subsequent stages of Notice to the Contractor likely to lead to the process of termination or potential termination of the contract.

· Monitor any arrangements which the Contractor has put in place to remediate service or accommodation failures as a result of the serving of a Notice (as defined in the contract).

· Liaising as necessary with other members of the Project Monitoring Team to resolve matters raised by the Headteacher or in the absence of the Headteacher by the Headteacher’s delegated representative and inform the Head of Support Services of those issues which require to be brought to his/her attention. 
2.2 Roles at Establishment Level

3.1 Role of the School Board

The powers of a School Board as set out in the School Boards (Scotland) Act 1988 and subsequent amended legislation are not significantly different in a PPP school from those where the building is owned by the Council.

The right of the Board to be consulted on major building issues would require to be tested in court but as a matter of principle the Headteacher should consult the Board on major building matters.

Similarly the right of the Board to be involved in staff appointments also applies with the exception of appointments of Contractor staff.

The School Board (Scotland) Act gives responsibility for the letting of Education premises out with school hours to the School Board. However, the expected norm is for a Management Committee to be established to direct the operation of Community Facilities.  School Board legislation requires the Management Committee to be a sub-committee of the School Board.  Its membership should be fully open to facility users and interested members of the local community.  Contact should be made with the local Community Learning and Leisure Manager.
Please refer to Appendix 3 – Community Use of Schools, which refers to a paper agreed at the Education Culture & Sport Committee of 20th May 2004
3.2 Role of the Headteacher
Headteacher/Contactor Arrangements

Headteachers in the first instance should always refer to ECS Administrative Circulars. A PPP School varies in a limited number of ways from other Council owned schools, as detailed below.  The Headteacher retains all responsibilities in relation to the development and delivery of the curriculum at local level, including responsibility for teaching and curriculum support staff but has no direct control over staff employed by the PPP contractor other than as set out within the contract in order to allow the school to function on a day to day basis. 

Monitoring of Contract
Specifically the Headteacher is bound by the contract with regard to specified levels of cleaning, grounds maintenance and annual building maintenance regimes, the latter agreed between the Council and the Contractor on an annual basis. 

Nevertheless the school requires to function to the benefit of students and community users, and the Headteacher can agree local requirements with Contractor staff provided the integrity of the contract is maintained.

The Headteacher may for example agree with contractor staff at local level alterations in the timing of certain duties or a variation to a routine.  It is not unreasonable for the Headteacher to request on occasions that a particular area be cleaned prior to its normal cleaning schedule if that area is required earlier than usual for a particular evening activity or that a clean be delayed if the room is being used out with school hours for in service courses or after school clubs. However any readjustment must be capable of being accommodated within the normal hours of the cleaning regime otherwise an additional charge will be levied for a variation to contract.

Similarly if the school has a scheduled sports day or sports match it is acceptable to make an arrangement to alter the schedule of grass cutting to ensure that the playing fields are at an appropriate standard.  However maintenance staff have other duties to perform in the school some of which will have been scheduled by the contractor and the Headteacher requires to ensure that any request falls within the contract and does not compromise the maintenance persons ability to meet his/her other duties.

Variations to Contract
The Headteacher may not vary the agreed contract where such a variation would require additional payments to the contractor. Should the Headteacher feel that such a variation is required the Headteacher will raise the matter with the Head of Support Services (Education Culture and Sport) via the ECS PPP Unit.
Contractor’s Staff
It is important that working relationships are established to the benefit of all but where a Headteacher feels that a reasonable request has been made and refused then the Headteacher should immediately raise the issue with the PPP Unit who will in turn take the matter up with the Contractor’s Representative.  

Non Availability of Accommodation

Accommodation may be deemed non available either by the Contractor or by the Council.  If the Headteacher believes that accommodation is unavailable he/she should contact the Contractor’s helpdesk using one of the following means which are set out in priority order.  In the case of failure to achieve contact by the first means then the Headteacher should progress to the next:

· Telephone

· Electronic methods of transmission (either fax or email)

· Writing

Any notification to the Contractor should include:

· Notification of the project facilities or part of the project facilities which are non available.

· The time at which the failure was identified.

The Headteacher will receive from the Contractor’s helpdesk a call reference number which should be noted as should the time of the call.  This must be recorded on the Council’s monitoring sheet for forwarding to the PPP Unit on a monthly basis.
Headteacher’s should request a joint inspection with the Contractor when the Contractor deems a facility to have been returned to availability.  There will be instances when it may be outwith a Headteacher’s technical knowledge to agree that an area has been returned to availability and Headteachers should be wary of agreeing that the area is available unless there is a simple, easily observed, solution.  The PPP Unit should be consulted where there is the least doubt and he/she can arrange for an expert to accompany the Headteacher on the inspection.

Whole School Non Availability

A whole school may be deemed non available when some areas of the school are still functioning.  Each PPP school has a different threshold at which an aggregation of non available areas triggers whole school non availability. In certain instances the Headteacher may choose to continue using an area which is deemed non available e.g. where there is a heating failure but otherwise the area is sound.  It will almost certainly be necessary where whole school non availability occurs during the school day to continue using parts of the school until pupil transport can be arranged.  Alternatively if non availability occurs towards the end of the school day the Headteacher may feel that given the difficulties in rescheduling pupil transport he/she would wish to continue using non available areas until the end of the school day.  

The contract allows for the continuing use of non available areas in such circumstances but in all instances the non availability of the areas should be notified to the Contractor and logged on the contract monitoring documentation.

Non Availability of Hostel Accommodation 
If the hostel becomes non available during the school week there is provision within the contract to provide temporary accommodation at a nearby suitable facility such as a hotel.  Before deciding to use such a facility the Headteacher should discuss the matter with the Head of Support Services.  In particular the Headteacher should consider any difficulties which may be associated with supervision of pupils in such an environment.                                                                                                                                                                                                                                                                                                                                                                           

Recording of Accommodation or Service Failures

The Headteacher, or senior member of the school staff delegated by the Headteacher, will inform the Contractor’s helpdesk of any Service/Accommodation failures as they occur and record them as per Appendix 1 to this document “Service /Accommodation failures”.  The Headteacher or in his/ her long term absence the Acting Head of Establishment will in all cases sign the Pro Forma and submit it on the first day of each month, covering failures for the proceeding month, to the ECS PPP Unit, bringing to their attention any prolonged Service failures or accommodation unavailability.  For the purposes of recording, a service or non availability of accommodation failure is deemed as having ended when the Contractor’s records show that it has been rectified unless a subsequent joint inspection deems this not to be the case.  In such circumstances the rectification time after the joint inspection is that which should be recorded.  School records will be cross checked against Contractor’s records by the PPP Unit to ensure the accuracy of Contractor reporting. The Headteacher while recording such failures is not responsible for converting these failures into financial penalties.

Letting Of Premises

Normal Council policies for the letting of premises, as detailed in the Administrative Handbook, applies in PPP schools.  
Core Hours
As part of the PPP contract the Council has purchased the following hours (core hours) of usage from the Contractor:

School Term

School days
  8am - 10pm

Non School Days
  9am - 10pm 

Saturday 

10am - 10pm

Sunday   

10am - 5pm

These hours cover both school and community usage and any let to an outside organisation occurring within these hours will fall within the letting charges issued annually in the Council’s scheme of lets or any similar scheme set up by the School Board/Management Committee.
The Council’s existing letting forms and policies may be used for accepting lets but special notice requires to be taken if hours booked fall out with the core hours of usage. 

Letting of Premises outwith Core hours  
A protocol for Out of Core Hours Use has been agreed with the Contractor. Please refer to Appendix 2 for procedures.
It is important when confirming a let to:

(i) Ensure that no building renovations are coinciding with the let.  If such works are planned it is essential that the Headteacher and Contractor assess the impact of the works on the lessee and agree as necessary any changes in emergency evacuation or other procedures to ensure that all Health and Safety requirements are met.

(ii) Ensure that organisations using the building have appropriate third party insurance as set out in the Council’s standard letting application.

Contractor’s use of Premises out with Core Hours

The Contractor is entitled to use the premises out with core hours subject to:

(i) The prior approval of the Council as to the identity of the third party user.

(ii) Notification of the nature and extent of the proposed use of the facilities

Approval for use of the premises by the Contractor should not be unreasonably withheld or delayed.  If a Headteacher is in doubt about such usage they should immediately contact the PPP Unit in the first instance.
(Please note that a Contractor let will be deemed to have been approved if the Council has not replied to the application for let within ten business days.)
Conflict in Letting

Where both the Contractor and the Council (either for Council use or use by a third party) conflict in their requests for use of the premises out with core hours the Council let has precedence unless 

(i) the Contractor has applied for the usage at least six weeks in advance of the date of the let 

(ii) And the Council has given approval of the Contactor let. 

While the Contractor is obliged to open the building within the hours outlined above the reality is that it is unlikely that the building will be used every day for the full length of the hours shown.  The main letting program will be established at the beginning of the Academic year and should be made available to the Contractor’s staff.  Additional lets should be notified to Contractor staff at least a fortnight in advance although very occasionally this may not be possible.  By following this courtesy it means that Contractor staff need not turn up when the building is unused.

Letting of Kitchen Areas

A kitchen facility may be booked as part of a let but the facility must be run by the Council’s, or Council’s appointed contractor, staff for the duration of its requirement and any costs incurred must be identified to the lessee prior to confirmation of the let.
Letting of Hostel Accommodation

Arrangements for the letting of Hostels are similar to those which apply to the main school premises subject to non availability during term time. Students will require to clear their rooms at the end of each term to enable letting of these premises during the school holidays.

Responsibilities in Relation to Vandalism

Core hours

The Council retains responsibility for vandalism during School Hours for those areas used by the school including public areas such as libraries, open learning areas, community areas, nurseries and crèches. Costs incurred during this period of activity require to be met from the school’s devolved budget although where vandalism is caused by an outside organisation using the premises the school can reclaim costs from that organisation’s insurances.  (Note that School Hours are defined in the Project Agreement – from approximately 0830 to 1600 on School Days).
Out with school hours the school retains responsibility for vandalism only in those areas used by the lessee during lets.  All other areas are the responsibility of the Contractor as is any vandalism when the school is closed.

Remediation of Vandalism

Where vandalism occurs which is the school’s responsibility it is important that any proposed remediation is agreed with the contractor prior to implementation.  Failure to do so could lead to claims by the Contractor against the Council where for example the materials used in the remediation process adversely affected the fabric of the building and create later cleaning problems or produced additional cost to the Contractor.

Health and Safety
The Contractor has responsibility for all Health and Safety issues relating to the fabric of the building.  The Contractor also has responsibility for Health and Safety matters relating to the Contractors staff.  

Role of the Headteacher in Health and Safety Matters.
The Headteacher has various responsibilities in relation to Health and Safety matters as outlined in the Highland Council’s Administrative Manual. In particular the Headteacher has responsibility for ensuring that a Contractor goes about his business in a safe and reasonable manner where actions by the contractor may affect students, staff or public.  It is important therefore when the contractor’s staff are carrying out their duties and particularly where these duties may affect modifications to the building or services that the Headteacher ensures that he/she is satisfied that work will be carried out in a safe manner for both the individual and for those groups of people for whom he/she has responsibility.  

Assistance from Council
In carrying out the Headteacher’s Health and Safety responsibilities he/she may call upon the full resources of the Council.  If assistance is required from Officers of other Council Services approaches should be made through the PPP Unit. The exception to this is in the case of an emergency when the Headteacher should seek immediate help directly from the appropriate Service and inform the PPP Unit at the first opportunity thereafter of the actions taken.

Health and Safety Plans
The Headteacher will be notified annually of the Contractor’s proposed maintenance schedule by the Property Services Officer within the PPP Project Group.  This officer will also inform the Headteacher timeously of any proposed building adaptations.  The Headteacher will agree with the Property Officer any Health and Safety Plan necessary to allow the works to proceed including, where necessary the cancellation of lets.

School Security  
School security is the responsibility of the Contractor. Within the contract a series of response times by the Contractor’s staff are given in relation to incidents relating to school security.  However where the response time is immediate e.g. in the case of an intruder, the Council requires to recognise that Contactor staff may be carrying out a duty which requires to be made safe prior to responding to the incident.

Alterations to Building Fabric and/or Services
The fabric of the building and appropriate services are the responsibility of the Contractor.  On no account will the Headteacher or any staff member make any adjustment to the building fabric or its services.  Should such a requirement be needed the Head of Support Services / PPP Unit should be notified and where appropriate a variation to contract and appropriate cost will be agreed.  Prior to any such variation being agreed the budget from which such variations will be paid must be clearly identified.

Responsibility for areas of the building used by the public
The contract for PPP schools is between the Council and the Contractor.  The Headteacher as the Council’s local representative retains responsibility for public areas including those which have been sub let e.g. nursery areas or college areas in the same way as if they were curricular parts of the school.  Staff or other agencies occupying these areas should raise any issues relating to the Contract or Contractor’s staff with the Headteacher.  Such staff or agencies should on no account approach the Contractor directly as this may lead to additional costs falling on the Council.

Responsibility for Hostel

Arrangements relating to a school hostel are similar to those relating to the main school building i.e. the fabric of the building, services and cleaning and grounds maintenance are the responsibility of the Contactor(s).  All issues relating to pupil welfare including pupil and public Health and Safety issues remain with the Headteacher and Headteachers should refer to the Education Culture and Sport Administrative manual for detail relating to these responsibilities.

Alcohol on School Premises

The situation with regard to alcohol in a PPP school is similar to that outlined in the Education Service Administrative Manual for other Council Schools and while there is nothing within the PPP contract which prohibits the sale of alcohol on the premises during a function the advice in the Administrative manual should be followed.

In addition, agreement with the Contractor on food and drink in the venues in the High schools is undernoted:

Food and drink should be kept to the foyer/dining areas. 

If having food/drink in the venue/hall is unavoidable:

· The potential issue of damage to the floor by spilt liquids should be mitigated by the use of carpeting.

· Any additional cleaning costs for the venue/hall and Bleacher seating etc caused by spillage will be at the organiser/school management group’s cost; and

· Community School (Highlands) Ltd will review this policy annually as part of the annual maintenance plan.

 
3.3 Role of the Headteacher in Relation to Centre Coordinators, Public Librarians, Nursery school Staff and Further Education Staff 
Given the nature of certain PPP schools with a wide variety of different areas such as community rooms, further education elements, non - Council nurseries and public libraries the Council would hope to maximise the use of the premises during school hours as well as out with hours.

Centre Coordinator
Where a Centre Coordinator has been appointed, his/her principal function is to promote the usage of the centre by local and national bodies and to organise the day to day letting process within the premises to the benefit of students and public. The Centre Coordinator may be assisted in this task by centrally located Education, Culture and Sport staff who co - ordinate tours of performers or events across the various establishments of the Highlands.  

In this capacity the Centre Coordinator is an employee of the Council (whether or not the post is funded from a variety of sources). When non-curricular Council services are delivered through a community school, the co-ordinators of such services will be supervised for issues such as patterns of work, sickness and holidays by the Headteacher, with professional and strategic support being delivered through a partnership between the Headteacher and the local Community Learning and Leisure Manager.
The Headteacher has responsibility for the school premises during school hours and the Council’s letting policy gives priority to school usage at the end of the School day and for sports events etc. at weekends.

It is expected that the Headteacher and the Centre Coordinator, through the School Board / Management Committee will agree school letting arrangements which will follow the principles of the Council’s letting policy.

In carrying out his/her functions the Centre Manager requires to be aware that the Headteacher is responsible for Health and Safety issues on all parts of the premises ( including areas used by the public) and therefore the Headteacher requires to know and have agreed the usage planned for the premises.  Further the Headteacher may require from time to time to alter evacuation and other procedures or even ensure that no lets are given during periods when the Contractor’s staff is carrying out maintenance on the premises. 

The Headteacher, as Responsible Premises Officer, is the Council’s local liaison officer with the Contractor and the Headteacher is the Centre Managers line manager on all Health and Safety issues.  The Centre Manager should not directly approach Contractor staff on Health and Safety issues except where the matter is so urgent that it must be dealt with immediately and the Headteacher is not available.

Similarly where a Centre Manager has concerns relating to the fabric of the building, fittings or equipment which is funded by an external source the centre manager will relay these concerns to the Headteacher.  

The Centre Manager or any other person given delegated authority by the School Board / Management Committee will at all times be mindful of the need for pupil safety when the general public and pupils are likely to come into contact with each other and will be particularly sensitive to school requirements during examination diets.

School and Public Librarians
The school and public librarians will be line managed by the Headteacher for those activities which impinge on the school curriculum including the organisation of school resources and pupil career requirements.  Their role in relation to the general public will be line managed by the area Community Learning and  Leisure Manager or any individual nominated by the Community Learning and Leisure Manager.

All Health and Safety issues will be line managed by the Headteacher as will any property issues or matters relating to the services provided by the Contractor.  The school or public librarian should not contact the Contractor on any issues directly without first receiving approval from the Headteacher.

Nursery Staff

Nursery Staff employed by the Council are line managed by the Headteacher. The latter is also responsible for all Health and Safety issues and building matters.

If the nursery is run by the community then the nursery fulfils the role of a let and is therefore covered by those conditions which apply to any other let i.e. all matters of a Health and Safety nature or any matters relating to the building or work of the Contractor’s staff should be referred through the Headteacher.  No member of staff employed by a community organisation should contact the Contractor directly as any variation to contract incurs costs to the Council.

College Staff

The same conditions apply to college staff on the premises as for community employed staff.

Use of premises by Local Doctors or Health Board

In some establishments the medical room may be used by local doctors or Health Board for purposes other than treating school children.  Any use of the premises for wider community medical purposes should be treated as a let and normal letting conditions will apply.  The Headteacher should satisfy him/herself as to the arrangements made by the lessee with regard to use of the premises including disposal of clinical waste.
Appendix 1 - Procedures for Monitoring the Contract at Establishment Level.
There are three key categories into which failures by the contractor to operate the contract will fall i.e.

1. Non - availability of parts of the establishment (indoor and outdoor) when the area(s) concerned cannot be used.

2. Non – available but used where the area(s) is technically non available (for example a heating failure in winter), but where circumstances require the continued use of the area.
3. Service failures where the contractor fails to perform functions to the level specified in the contract.
Each of the above are dealt with in this section as is the means of recording such failures.

Service Failure Deductions

The contract awards both a Priority Level and a points value to each service provided by the Contractor.  Priority levels range from 1 – 5 with Priority 1 being the most important and Priority 5 the least important.    The Service Specification (appendix 4) indicates the priority levels for each service area.  In the case of service failure there is a rectification period to allow the contractor to return the service to the specified level. If the contractor rectifies the fault within the specified period then no points are deducted and the incident is treated as though it had not happened.

Information relating to service failure should also be logged on the spreadsheet for non availability of areas providing a complete summary of performance by the Contractor.           

The Monitoring Spreadsheet

All calls made to the Helpdesk shall be recorded on this spreadsheet.  The completed form, including where possible a close date/time for each logged call, will then be sent electronically to the PPP Unit at the beginning of every month.
A blank copy of the spreadsheet is shown below:

	 
	 
	 
	 
	 
	 
	 
	 

	School
	Strathdearn Primary
	Month
	
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	Date/Time
	Call 
	Space /
	N / U or
	Description
	Close
	Office Use Only

	Logged
	Number 
	Service
	Priority
	 
	Date/Time
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 
	 
	 


Appendix 2  - PPP1 – Out with Core Hours Usage – Protocol

In line with the Project Agreement (PA), where there is a requirement for the facility to be accessed out with core hours (as defined in the PA), it will be necessary to make arrangements for this via the MITIE help desk.

The user (Council employee) should arrange to log a call in the usual way, giving a minimum of 48 hours prior notice (PA section 15.2) and details of the facilities (rooms etc) required, the purpose, including the identity of the proposed users, and the proposed finish time. 

 Logging the call should be done in line with whatever local arrangements already exist but it may also be appropriate to informally “let the janitors know”, as they may be aware of other planned activities (e.g. programmed maintenance) that could conflict.

Should the event over-run the janitor(s) will be responsible for notifying the help desk of the ‘actual hours’.  The school/centre co-ordinator will be required to verify this when subsequently accepting the invoice.

The logged call details must include details of the Council contact who has requested/authorised the out of core hours use and who will be able to discuss the details with the PPP Unit.

A charge, as detailed in the schedule below, will be levied on the user who implemented the extension to Core Hours. Recovery of that charge from the ‘end-user’ is not part of this protocol as this is an internal matter for the facility. 

The charges are subject to review and acceptance by the Council on an annual basis.

An invoice will be issued by MITIE to the PPP Unit (which is the only point of contact as defined in the PA). The PPP Unit will then contact the user who will have to verify the charges as acceptable and confirm that it is in order to process the invoice.

For Ardnamurchan High School the user will also be required to provide a full Oracle code and the PPP Unit will arrange for the invoice to be processed against that code.

 For Glen Urquhart High School the PPP Unit will arrange for the invoice to be processed using a “holding” code and also arrange for a Council debtors invoice to be issued to the Management Committee for the same amount (there being a nil, net effect on the holding code).

To date this has not been an issue with the two PPP1 primary schools but it is anticipated that they would be dealt with in a similar manner to Glen Urquhart High School.

PPP1 – Schedule of Out with Core Hours Charges

	School Days
	Hourly Charge

	2200 -2400 hours Monday to Friday
	£31.21

	2400 -0800 hours Monday to Saturday
	£41.98

	0800 -1000 hours Saturday
	£31.21

	2200 -1000 hours Saturday to Sunday
	£41.98

	1700 -0800 hours Sunday to Monday
	£41.98

	Non School Days
	

	2200 -2400 hours Monday to Friday
	£31.21

	2400 -0800 hours Monday to Saturday
	£41.98

	0800 -0900 hours Monday to Friday
	£31.21

	0800 -1000 hours Saturday
	£31.21

	2200 -1000 hours Saturday to Sunday
	£41.98

	1700 -0800 hours Sunday to Monday
	£41.98


The costs shown are for any/all use of a facility.

Partial hours will be rounded up to the nearest hour and charged accordingly.
Under the PPP1 Project Agreement, Core Hours are defined as – 

	SCHOOL DAYS:

	NON-SCHOOL DAYS:


	8AM TO 10PM ON MONDAYS – FRIDAYS
	9AM TO 10PM MONDAYS – FRIDAYS

	9AM TO 10PM ON SATURDAYS
	9AM TO 10PM ON SATURDAYS

	10AM TO 5PM ON SUNDAYS
	10AM TO 5PM ON SUNDAYS


Appendix 3 – Community Use of Schools  

ECS Committee – 20 May 2004

Principles of Operation of Community Facilities

Good Community schools sit at the heart of their communities. Community Schools which participate fully in their community, and which enable the community to participate in and with them, are better schools.  

The principles and expectations outlined below fit within the overall improvement themes of the Education, Culture and Sport Service Plan.  These are:

· Achievement for All

· Participation and Inclusion

· Health and Wellbeing

· Infrastructure and Resource

· Performance Management

Principles and Expectations
· Community school buildings are a community resource – enabling school and community activity.
· Community facilities should be available for use throughout the school day, evenings, weekends and school holidays, except where required for curricular use.
· The availability of community facilities such as libraries and learning centres should be consistent across similar establishments, but subject to agreed local variations.
· When non-curricular Council services are delivered through a community school, the co-ordinators of such services will be supervised for issues such as patterns of work, sickness and holidays by the Headteacher, with professional and strategic support being delivered through a partnership between the Headteacher and the local Community Learning and Leisure Manager.
· Community facilities will be available to the public at similar prices to other Council public facilities and increasingly, the High Life scheme will be expected to apply.
· Community Schools will form partnerships to co-ordinate curriculum work on healthy lifestyles and citizenship with after school activities and participate in clubs and voluntary societies.
Management of Community Facilities at Community Schools

· The expected norm is for a Management Committee to be established to direct the operation of Community Facilities.  School Board legislation requires the Management Committee to be a sub-committee of the School Board.  However, its membership should be fully open to facility users and interested members of the local community.
Appendix 4 – the Service Specification (Extract from Project Agreement)
1.
Introduction

1.1
The Contractor will be required to provide the Services throughout the Service Period in accordance with the provisions of this Part 7 of the Schedule.
2.
Definitions, Interpretation and Construction

2.1
The provisions of Schedule Part 1 (Definitions, Interpretations and Construction) shall apply and have effect in relation to the words and expressions used in this Part 7 of the Schedule and the interpretation and construction of this Part 7 of the Schedule.

3.
Scope of Service

3.1
The Contractor will provide a complete facilities management and lifecycle management service in respect of the Project Facilities in accordance with:

3.1.1
all Legislation;

3.1.2
requirements of this Part 7 of the Schedule;

3.1.3
Good Industry Practice;

3.1.4
the Service Delivery Plan; and

3.1.5
in a manner which is consistent with permitting the discharge by the Council of its obligations under the Education Acts.

3.2
Where there is any conflict between the requirements of paragraphs 3.1.1 to 3.1.5  the requirements shall be deemed to have precedence over each other in descending numerical order.

4.
Availability Standard and Performance Standards

This section contains the Availability Standards and Performance Standards used to determine the standard of each service to be delivered by the Contractor in terms of this Agreement. Deductions according to Priority is as follows:
Table 1 to Part 8 of the Schedule (Monitoring and Services Failure Procedure)

	Column 1
	Column 2

	Priority 1
	100

	Priority 2
	75

	Priority 3
	50

	Priority 4
	25

	Priority 5
	10


4.2
Accommodation 


	Service Objective 
	To provide accommodation in accordance with Council Requirements and Legislation


	Column 1
	Column 2


	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement


	Specific Requirement 
	Availability Standards
	Performance Standards
	Priority 
	Rectification Temporary/Permanent

	Accommodation Available 
	All Project Facilities to comply with  Legislation.
	No failure of any Project Facility to meet the requirements of Legislation.
	


	 
	None 



	
	All Project Facilities are accessible.
	No failure of any part of the Project Facilities to allow those persons entitled to use the Project Facilities to gain physical access (including ingress and egress) in a reasonable manner having regard to the intended use of the relevant part of the Project Facilities.
	
	
	None

	
	All Project Facilities to be safe.
	No failure of any part of the Project Facilities to be capable of use by those entitled to use the Project Facilities and having regard to its intended use, free from significant or imminent risk to health and safety.
	
	
	None


4.3
FM Availability and Performance Requirements – Security Provision

	Statement of Service Objectives
	To ensure security of all Project Facilities whilst having regard to the Council’s responsibility to ensure the safety and security of Authorised Users.

To prevent physical damage to and theft from premises and to provide controlled access to the Project Facilities, for Authorised Users. 


	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirement
	Availability Standards
	Performance Standards
	Priority
	Rectification Temporary/

Permanent

	1.  General security services
	1.1  Authorised contractors shall be logged in and out of Sensitive Areas and shall be supervised by the Contractor at all times whilst in Sensitive Areas. 
	No occasion of unauthorised persons gaining unsupervised access to Sensitive Areas.  
	
	
	None

	2.  Open up and close down the Project Facility at the beginning and end of Core Hours.
	2.1  The Contractor will open the Project Facility  to Authorised Users for Authorised Uses.
	No failure to open the Project Facilities to Authorised Users for Authorised Uses. 
	
	
	None

	
	2.2  The Contractor will secure the Project Facility at the end of Core Hours ensuring that all Authorised Users have vacated the Project Facility.
	
	No occasion of leaving the Project Facility  unsecured at the end of Core Hours

No failure to set alarms at the end of Core Hours.
	1

1
	None

None

	
	
	
	No failure to clear the Project Facility of  Authorised Users prior to closing
	2
	2 hours temporary/2 Days permanent



	
	2.3  The Contractor will open up the buildings for Additional Use on receipt of 48 hours Notice from the Council.
	No failure to open the Project Facility as notified.
	
	
	30 minutes permanent

	3.  Provide a security service to the public areas


	3.1  At Glen Urquhart High School and Ardnamurchan High  School - the Contractor will provide a visible security presence within Public Areas.  Patrols will be undertaken to an agreed minimum frequency to demonstrate presence.
	
	No failure to provide visible security presence within Public Areas to agreed minimum frequency of patrols.


	3


	1 day permanent



	
	3.2  The Contractor will provide a mechanism for security personnel to be summoned where required. The Contractor will respond to all Emergency Incidents.
	
	No occasion of not being able to alert the Contractor to the occurrence of an Emergency Incident during Core Hours. .


	1


	30 minutes permanent

	
	
	
	No failure to attend Emergency Incident  as a matter of urgency during Core Hours.
	1
	None

	4.  Provide out of hours security and keyholder response.
	4.1  Provision will be made for remote monitoring of intruder systems and external notification of alarms outwith Core Hours.  
	
	No failure of remote monitoring systems to detect an intruder.

No failure of systems to communicate activation.
	1

1
	None

None

	5.  Manage the access of all Authorised Users into the Project Facilities .
	5.1  Allow access to the building for Authorised Users during Core Hours. 
	No occasion of persons other than an Authorised Users gaining access to the Project Facilities during Core Hours as a result of a failure of Access Control Systems.
	
	
	None

	
	
	
	No occasion of Authorised  Users failing to gain access for Authorised Use during Core Hours as a result of a failure to Access Control Systems..
	3
	2 hours permanent

	
	
	
	
	
	


4.4
FM Availability and Performance Requirements - Energy Management and Utilities Supply 

	Statement of Service Objectives
	To provide a constant supply of, where possible mains water, gas and electricity as required to ensure continued operation of the education function.

To provide for the removal from site of all effluents including, but not limited to, sewage, run-off, disposal from science and technical laboratories,  etc.

To carry out appropriate risk assessments for the safe removal of effluents in accordance with Legislation.

To monitor and manage consumption of energy in accordance with the principles of energy efficiency and the policy of the Council.


	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirements
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent

	1.  Maintain necessary water supplies
	1.1  Provide a constant supply of water to service the performance requirements
	No occasion of any failure to provide the Services due to water supply failure. 
	Water supply at identified drinking points to be potable at all times.
	2
	30  mins temporary/2 hours permanent

2 hours temporary/1 day permanent

	2.  Provision for the removal of water run-off and sewage from Project Facility. 
	2.1  Arrangements will be made, and paid for, by the Contractor for the removal of all sewage and run-off water from the Project Facility,  including the emptying of interceptors.
	
	All drains, sewers, and gullies within the Project Facility  will be maintained free flowing and free from unpleasant odours.
	3
	1 day temporary/5 days permanent

	3.  Maintain necessary gas supplies
	3.1  Provide a constant supply of gas to service the performance requirements.
	No occasion of any failure to provide the Services due to gas supply failure.  
	
	2
	None

	
	3.2  Maintain gas distribution system within the site and buildings
	Leak free and in a safe condition.

No occasion of any failure to provide the  Services due to gas supply failure.
	
	1

2
	5 minutes temporary/1 hour permanent

5 mins/1 hour permanent



	4.  Maintain necessary electricity supplies
	4.1  Provide a constant supply of electricity to service the performance requirements.
	No occasion of any failure to provide the Services due to electricity supply failure. 
	
	
	2 hours temporary/1 day permanent

	
	4.2  Maintain electrical distribution system within the Project Sites.
	No occasion of electrical distribution system failing to be maintained in a safe condition and in accordance with Legislation.
	
	
	1 hour temporary/1 day permanent

	
	
	
	
	
	

	
	
	
	
	
	

	
	4.3  Ensure that electricity supply  to Critical Systems remains uninterrupted for a period of 24 hours following failure of mains supply.


	No incident of failing to maintain uninterrupted electricity supply to Critical Systems for a period of 24 hours  following failure of mains supply. 
	
	
	None  

	5.  Energy consumption management
	5.1  The Contractor shall play a lead role in establishing and implementing energy saving strategies (including separate heating, lighting and ventilation strategies) and cooperate with the Council in achieving agreed objectives.
	
	No failures to undertake appropriate tasks required as part of an energy conservation strategy.
	4
	To agreed programme

	
	5.2  Detailed records of consumption must be taken and collated by the Contractor by means of a shared electronic database or any other manner agreed with the Council.
	
	All current and historic consumption data available on request.

No failure to produce regular reports on energy consumption
	5

5
	15 days permanent

15 days permanent


4.5
FM Availability and Performance Requirements - Project Facility Fabric and Services Maintenance

	Statement of Service Objectives
	To provide preventative and reactive maintenance to the Project Facilities to ensure that the assets provide full operational functionality at all times.

	Background Information
	Maintenance activity must ensure that the operations of the Project Facilities can continue but the extent of maintenance is at the discretion of the Contractor unless governed by Legislation.

All maintenance and alteration to trunking, and outlet points for IT infrastructure will be the responsibility of the Contractor.  

The Catering service provider will be responsible for eliminating health and safety hazards within their area of control and will liaise with the Contractor on matters relating to the maintenance of building fabric, fixed equipment and building services.

The catering service provider will be responsible for PAT testing all portable equipment it uses on site.  It will also be responsible for liaising with the Contractor where new equipment is brought onto site.




	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent 

	1.  To provide a planned maintenance function designed to minimise breakdown and extend asset life.
	[1.1  The Contractor must establish and comply with a preventative maintenance and life cycle replacement schedule designed to ensure compliance with the performance requirements, and which must be submitted for agreement to the Council. ]


	
	No occasion of service failure as a result of insufficient planned maintenance activity.


	3


	1 month



	
	1.2  The Contractor shall prepare annually the Planned Maintenance Schedule.


	
	No occasion of the Contractor failing to prepare the Planned Maintenance Schedule annually.
	3
	None

	
	1.3  The Contractor shall submit the Planned Maintenance Schedule to the Council for approval in relation to the timing of the works to be carried out  pursuant to the Planned Maintenance  Schedule, such approval not to be unreasonably withheld or delayed.
	
	No occasion of the Contractor carrying out planned maintenance at times other than as specified in the Planned Maintenance Schedule.
	3
	1 month

	
	1.4  The Council will be entitled to comment on the form and content of the Planned Maintenance Schedule and the Contractor shall make such amendments to the Planned Maintenance Schedule as the Contractor deem  necessary to address the Council's comments. 


	
	
	
	

	
	[1.5  The Contractor shall undertake planned maintenance for all Project Facilities in accordance with the Planned Maintenance Schedule.]


	
	
	
	

	
	1.6  The Contractor shall prepare the Lifecycle Maintenance Schedule.


	
	No occasion of the Contractor failing to prepare the Lifecycle Maintenance  Schedule
	3
	None

	
	1.7  The Contractor shall submit the Lifecycle Maintenance Schedule to the Council for review.
	
	
	
	

	
	1.8  The Council will be entitled to comment on the form and content of the Lifecycle Maintenance Schedule and the Contractor shall make such amendments to the Lifecycle Maintenance Schedule as the Contractor deems necessary to address the Council's comments.


	
	No occasion of the Contractor carrying out Lifecycle Maintenance  other than as specified in the Lifecycle Maintenance Schedule.
	
	

	
	1.9 [The Contractor shall undertake lifecycle maintenance for all Project Facilities in accordance with the Lifecycle Maintenance Schedule.]
	
	
	
	

	
	
	
	
	
	

	
	1.2  Maintain environmental conditions required within the building as detailed in Part 5 of the Schedule (Council Requirements)
	No failure to comply with the minimum requirements as detailed in the Council  Requirements.
	
	
	2 hours temporary/2 days permanent

	2.  Provide a reactive maintenance service
	2.1  Respond to breakdowns and ad hoc repairs in order to maintain the required standards of accommodation.
	
	No occasion of failure to restore Service 
	2
	2 hours temporary/2 days permanent

	3.  Provide for the safe use of lift equipment
	3.1  Provide secure means of immediate notification to the Contractor in the event of persons being trapped in lifts.
	
	No instance of communication systems not being available to notify to Contractor in the event of persons being trapped in lifts.
	3
	None

	
	3.2  Secure the release of any trapped person/s within 30 minutes of notification in accordance with an appropriate procedure to ensure the safety of the trapped person/s and others.
	
	No instance of requiring longer than 30 minutes to release a trapped person.
	2
	30 minutes permanent

	
	
	
	
	
	

	4.  Maintain and manage the IT infrastructure and telecommunications network installation and satellite communications
	4.1  Provide and maintain a:

(a)
working and maintained telephone system including handsets; and

(b)
a cabled system in Information Technology and Communication System with RU45 sockets in teaching spaces connected to hub patch panels and hubs connected by fibre optic cables.

The Council will be responsible for the costs of all call charges arising from curricular use.
	No occasion of failure to restore Service.  
	
	
	2 days permanent

	
	4.2  The Contractor will be required to maintain in a functional condition all aspects of the voice/data network infrastructure.

The ICT infrastructure will be the responsibility of the Contractor and the Contractor will be required to co-ordinate ICT related works with the operating times for the Project Facilities as required and with any ICT contractor involved in running Council networks.
	No occasion of failure to restore service


	
	
	2 days permanent

	5.  Provide a handyman service to the Council
	5.1  The Contractor will provide competent staff on an ad hoc basis to undertake minor works (not associated with building maintenance) as agreed with the Council (using materials supplied by the Council).
	
	No failure to complete works (in accordance) with programme agreed with the Council.
	3
	To agreed programme

	
	
	
	
	
	

	7.  Maintain the condition of internal & external finishes to the accommodation in accordance with Council Requirements.
	7.1  Internal wall finishes will be routinely maintained and periodically redecorated.


	
	No occasion of failure to provide [acceptable standards in relation to aesthetic quality] taking into account having regard to fair wear and tear.


	4
	2 days temporary/10 days permanent



	
	
	No occasion of failure to provide acceptable standards in relation to functionality in line with Room Data Sheets.room data sheets.
	
	
	2 hours permanent

	
	
	
	
	
	

	
	7.2  Carpet and other floor finishes will be routinely maintained and periodically renewed.


	
	No occasion of failure to provide acceptable standards in relation to aesthetic quality having regard to fair wear and tear.


	4
	2 days temporary/10 days permanent



	
	
	No occasion of failure to provide carpet and other floor finishes in accordance with the Council Requirements.
	
	
	2 hours permanent perm.




	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent

	
	7.3  Aspects of the internal finishes, or fair-finished elements (e.g. ceiling tiles), in the building other than those noted above will be subjected to a maintenance programme and/or replacement programme.
	
	No occasion of failure to provide acceptable standards in relation to aesthetic quality taking account of  fair wear and tear..
	4
	2 days temporary/10 days permanent

	
	
	No occasion of failure to provide internal finishes or fair finished elements in accordance with Council Requirements.
	
	
	2 hours permanent



	
	7.4  External finishes will be routinely maintained and periodically redecorated.
	
	No occasion of failure to provide acceptable standards in relation to aesthetic quality in line with programme requirements taking account of fair wear and tear

.
	4


	2 days temporary/10 days permanent




4.6
FM Availability and Performance Requirements – Grounds Maintenance

	Statement of Service Objectives
	To ensure that the grounds and external traffic routes within the curtilage of each Project Facility are maintained to a high aesthetic standard and are safe for all users. 

Grounds should provide visual attractiveness within a safe and interesting recreational resource and create a safe and stimulating environment for the development and growth of children.




	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent

	1.  Provide for the maintenance and upkeep of soft landscaped areas
	1.1  Maintain grassed areas  which are not wild flower areas such that they are:

generally free of weeds, moss or other extraneous growth

in healthy growth during the growing season with generally no bare patches

kept at the specified length

neatly cut to the edge of any borders

generally free from ruts or other disruption to the normal contour of the surface; and

generally free of litter and foreign matter such as stones, brick, glass and animal faeces


	
	So far as reasonably practicable 

Grass areas to be maintained at a cut level height not exceeding 25 mm

Edgings between grassed areas and land surfaces to be maintained at a cut level height not exceeding 30 mm

Areas to be generally free of weeds,
	3

4

4
	1 day permanent

2 days permanent

2 days permanent

	
	
	
	
	
	

	
	
	
	
	
	

	
	1.2  All trees, perennial plants and shrubs must be maintained such that:

generally they are in healthy and vibrant growth during the growing season.

trees & shrubs are kept to an appropriate height to be agreed with the Council.

plants or shrubs do not overhang, or otherwise obstruct, pedestrian or vehicular traffic routes.

dead or dying trees, perennial plants or shrubs are replaced without detriment to the overall aesthetic effect of the landscaping.

Herbaceous borders are kept generally free of weeds.


	
	Shrub growth to be contained within bed area and below cill height where adjacent to windows.

Bark mulch to shrubs to be maintained at a depth not less than 75 mm following application.

Shrubs not to obstruct adjacent pathways.


	4

4

3


	2 days permanent

2 days permanent

1

1day temporary/5 days permanent



	
	Tree management plan to be established. Trees should be inspected, mapped and recorded at each site. Records should be maintained during the progress of any works at the sites.

Special maintenance provision will apply to areas maintained for their ecological status and for educational purposes.


	
	No evidence of arisings from grass cutting, weeding and shrub maintenance following carrying out of the same.

Shrubbed areas to be generally free of weeds


	4

4
	2 days permanent

2 days permanent

	2 Provide for the maintenance and upkeep of sports areas


	2.1  Maintain grassed areas such that they are:

generally free of weeds, moss or other extraneous growth;

generally in healthy growth with no bare patches, fair wear and tear excepted and taking account of their use;

kept at the specified length;

neatly cut to the edge of any borders;

generally free from ruts or other disruption 
	No failure to provide drainage and/or achieve playable surface  in grassed areas.


	Grass areas to be maintained at a cut level height not exceeding 25 mm

Edgings between grassed areas and land surfaces to be maintained at a cut level height not exceeding 30 mm
	3

4


	None

1 day temporary/
5 days permanent

1 day permanent



	
	to the normal contour of the surface and adequately drained.

lined in accordance with utilisation requirements;

equipped with goal posts in accordance with utilisation requirements;

generally free of litter, leaves and foreign matter such as stones, brick, glass and animal faeces;


	Goalposts structurally sound
	No failure to control the growth of weeds so far as reasonably practicable.

Line markings to be legible in accordance with design guides

Goalposts painted in accordance with design guides


	4

3

3
	2 days permanent

2 days permanent

1 day permanent

None

1 day temporary/
5 days permanent



	
	2.2  Maintain tarmac sports areas such that they are:

generally free of weeds, moss or other extraneous growth

of a level surface  allowing surface water run-off

generally free from ruts or other disruption to the normal contour of the surface.

lined in accordance with utilisation requirements 

equipped with goal posts in accordance with utilisation requirements


	No failure to provide tarmac surface drainage and/or playable surface free of standing water for tarmac sports access


	No failure to control the growth of weeds.

Line markings to be legible in accordance with design guides


	4

3


	1 day temporary/5 days permanent

2 days permanent

1 day permanent



	
	
	Goalposts in tarmac sports areas structurally sound


	
	
	None

	
	generally free of litter and foreign matter such as stones, brick, glass and animal faeces
	
	Goalposts painted in accordance with design guides.
	3
	1 day temporary/5 days permanent

	
	2.3  Maintain synthetic all-weather surfaces such that they are:

generally free of weeds, moss or other extraneous growth

of a level surface allowing surface water run-off
	No failure to provide  drainage and/or playable surface free of standing water for synthetic all weather pitches


	
	
	1 day temporary/5 days permanent



	 
	free from ruts or other disruption to the normal contour of the surface.

lined in accordance with utilisation requirements 

equipped with goal posts in accordance with utilisation requirements

generally free of litter and foreign matter such as stones, brick, glass and animal faeces
	Goalposts on synthetic all weather surfaces structurally sound
	No failure to control the growth of weeds.

Line markings to be legible in accordance with design guides


	4

3


	2 days permanent

1 day permanent

None

	
	
	
	Goalposts painted in accordance with design guides.
	3
	1 day temporary/5 days permanent

	3.  Provide for the maintenance and upkeep of hard landscaped areas.
	3.1  All external hard surfaces including but not limited to paths, roads, car parks, gravel strips and other paved areas must be kept generally free of weeds, moss, lichen or any other organic material and litter.
	
	No failure to control the growth of weeds.

No occasion of slip hazards.
	4

1
	2 days permanent

1 hour permanent

	
	3.2  Maintain the safety and functionality of external hard surfaces.
	.
	Surfaces of hard landscape areas to be free draining

All road traffic markings to be clearly visible


	3

4


	1 day temporary/5 days permanent

2 days permanent



	
	
	
	Surfaces to be materially intact and free of any slip or trip hazards.
	1
	1 hour

	
	3.3  The Contractor will monitor weather reports and forecasts and ensure that:

grit is spread on all roads, carparks and walkways overnight whenever there is a risk of surface ice or snow fall.


	
	No failure to respond to overnight severe weather reports prior to the commencement of the Core Hours.


	3


	None



	
	snow is cleared from all access roads, carparks (excluding parking bays) and pathways overnight in the event of heavy snowfall
	No failure to use reasonable endeavours to keep the Project Facility's  access routes free of snow & ice throughout the Core Hours of the Project Facilities. (Service not required in the event that access to the site is not possible)
	
	
	1 day permanent

	
	The  Contractor will ensure that all vehicular and pedestrian access/egress routes within the Project Facilities boundaries are clear of snow and ice and are safe for all users throughout the Core  Hours.
	
	No failure to protect trees and planted areas from damage by rock salt / grit spread by the Contractor to assist access to the Project Facilities..
	5
	15 days permanent

	4.  Special Projects / Educational Support
	Periodically liaise with the Council in the development of materials and activities to support the Project Facility's curriculum as agreed with the Council)
	
	No failure to liaise and to provide assistance to agreed  programme and brief where Council meet costs of support (other than in respect of liaison).
	4
	To agreed programme.

	5.  Maintenance of Aquatic features
	5.1  Water  Aquatic Features  should be clean and clear and support aquatic and plant life.
	
	No failure to keep water clean and clear.
	3
	5 days permanent

	
	5.2  The Contractor should provide a proactive maintenance service of all ponds including maintaining water oxygen levels, and controlling algal growth and fungal diseases.
	
	No failure to provide proactive maintenance to ponds.
	2
	1 day temporary/ 5 days permanent

	
	
	
	
	
	


4.7
FM Availability and Performance Requirements - Cleaning

	Statement of Service Objectives
	To provide a sanitary, clean and tidy environment consistent with the education function. To enable teachers, staff, pupils, parents and any other persons who have reason to visit the Project Facilities using the facilities to use conveniences safely and hygienically. The Contractor will determine the appropriate frequencies for cleaning to suit the needs of the core education service.



	Background Information
	All areas and elements of the building, including furniture, fittings and equipment will be included in the cleaning requirement unless otherwise stated.

All consumables (toilet paper, soap, etc) will be provided by the Contractor.

[Cleaning of kitchen and dedicated dining areas (including furniture) will be the responsibility of the catering service provider 

Deep cleaning of fixed kitchen equipment and cleaning above 2m will be the responsibility of the Contractor and shall be undertaken on an agreed programme.

The Catering Service Provider will be responsible for chewing gum removal in kitchens and dedicated dining areas.]

The Contractor will empty internal waste/litter bins daily or on an as required basis




	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6


	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent

	1.  General Cleaning

	1.1  Attend to any spillages (including bodily fluid spillages), and other emergency cleaning requirements, during Core Hours.  
	
	No failure to make safe emergency cleaning situation.

No failure to restore acceptable standards following occurrence of  emergency cleaning situation. 
	1

1
	30 mins permanent

1.5 hour permanent

	
	1.2  In the event of graffiti on the inside or outside of the Project Facility the Contractor must take appropriate measures to ensure that it is removed or obscured from public display.
	
	No failure to remove from sight any visible graffiti 

If obscured as initial remedy then no failure to fully restore the area within five days
	3

4
	2 hours temporary/5 days permanent

5 days permanent 

	2.  Food preparation cleaning


	2.1 Perform cleaning to food preparation areas which are not Project Facility Food Areas  to a standard required to ensure equipment operation and life and an environment compliant with Legislation.


	No failure to undertake cleaning to food preparation areas which are not Project Facility Food Areas in accordance with Legislation
	
	
	2 hours permanent

	
	
	
	
	
	

	3.  Hard floor cleaning
	3.1  All hard floor coverings including edges and skirting shall be cleaned in such a way as shall preserve the floor coverings. The process should ensure all floor areas are free from debris, dust, dirt, spillage and scuff marks to display an even lustre on completion. Any stains and deposits should be removed.
	
	No accumulation of ingrained/impacted dirt, particularly in crevices corners and edging.


	3


	1 day permanent



	
	
	
	No evidence of any accumulation of slurry, soap or residues from cleaning agents. Slippery floor surfaces, powdering discoloration, build up and scuffing


	3
	1 day  permanent



	
	
	
	No evidence of dirt or debris under desks etc. around edges of furniture, corners and other areas difficult to access.
	3
	1 day permanent

	4.  Soft floor coverings
	4.1  All soft floor coverings including edges and skirting shall be free from debris dust and dirt.  Any stains and deposits should be removed.


	
	No accumulation of ingrained/impacted dirt, particularly in crevices corners and edging.
	3


	1 day permanent.



	
	
	
	
	
	

	
	
	
	No evidence of any accumulation of slurry, soap or residues from cleaning agents. Slippery floor surfaces, powdering discoloration, build up and scuffing.


	3
	1 day permanent

	
	
	
	No evidence of dirt or debris under desks etc. around edges of furniture, corners and other areas difficult to access.
	3
	1 day permanent

	5.Slip resistant floors
	5.1  Floor surfaces having a slip resistant property, shall remain slip resistant.
	 
	No accumulation of ingrained/impacted dust particularly in crevices, corners and edges.
	3
	1 day permanent

	
	
	
	No evidence of any accumulation of slurry, soap or residues from cleaning agents, slippy floor surfaces, powdering discolouration, build up and saffing.
	3
	1 day permanent

	
	
	
	No evidence of dirt and debris under desks, around edges of furniture, corners and other difficult to access areas.
	3
	1 day permanent

	6.  Entry matting
	6.1  Both sides of all entry-matting and the floor areas beneath the entry matting shall be free of surplus accumulations of dust, debris and soiling. Top side of entry-matting shall be free from all litter, debris, dirt and soiling.


	
	No accumulation of ingrained/impacted dirt, particularly in crevices corners and edging.


	3


	1 day permanent



	
	
	
	No evidence of any accumulation of slurry, soap or residues from cleaning agents. Slippery floor surfaces, powdering discoloration, build up and scuffing.  Misuse of inappropriate cleaning agents.
	3
	1 day permanent

	
	
	
	
	
	

	7.  Stairs
	7.1  All stairs including treads, risers, nosing, banisters, balustrades, handrails, ledges and guards must be free from dust, debris, stains and marks. All stairs shall be free from debris, fresh stains and spillage.
	
	No evidence of debris, fresh stains and spillage.


	3
	1 day permanent

	8.  Internal glass and mirrors
	8.1  All glass/mirrors (excluding external windows) shall be free of dust, void of stains and a streak/smear free finish achieved.
	
	No evidence of build up in corner areas, around fixtures, streak marks, smears or heavy finger marking.
	4
	2 days permanent

	9.  Paintwork, walls and doors


	9.1  All paint work, up to 2 metres on walls and doors, including framework, shall be void of stains and markings (non graffiti) ingrained dust, dirt and cobwebs with a streak/smear free, even finish achieved with no visible water marks/tidemarks. No fresh stains shall be evident.
	
	No evidence of stains, accumulation of dirt and debris particularly on edging and in corners; no cobwebs, watermarks and tidemarks.
	4


	2 days permanent

	10.   Ceilings
	10.1    All ceiling surfaces shall be free from cobwebs and other matter, dirt or debris (including chewing gum).
	
	No evidence of cobwebs and/or other matter, dirt or debris (including chewing gum).
	4
	2 days permanent

	11.  Furniture, fixtures and fittings including architectural Ironmongery
	11.1  All furniture, fixtures and fittings including architectural Ironmongery shall be cleaned appropriately to ensure protection. The process should ensure furniture, fixtures and fittings are free from dust and void of fresh stains and spillage , with a streak/smear free finish achieved.

All sinks, wash-hand basins, surfaces and their associated  visible service pipework, splash backs, taps, chains and plugs shall be void of all soiling, detergent and/or water marks.


	
	No evidence of accumulated grime, dirt deposits, chemical build up and/or stains resulting from cleaning processes.   


	3


	1 day permanent



	12.  Blinds
	12.1  Blinds shall be cleaned appropriately to ensure protection. The process should ensure blinds are free from dust and stains.


	
	No evidence of dust and stains on blinds.
	5
	15 days permanent

	
	
	
	
	
	

	13.  Waste receptacles
	13.1  All waste receptacles shall be clean, dry, dust/dirt free and an acceptable odour free finish achieved. 
	
	No occurrence of overflowing receptacles.


	3


	1 day permanent



	
	
	
	No failure to prevent the receptacles from becoming foul smelling and/or heavily soiled.


	2
	2 hours permanent

	
	
	
	No failure to replace bin liners where appropriate.
	3
	1 day permanent

	14.  Shelves, glass displays, bookcases and cupboard interiors (if cleared for cleaning purposes).
	14.1  Shelves, glass displays, book cases and cupboard interiors  (if cleared for cleaning purposes) shall  be free of dust, ingrained dirt, streak marks, smears or heavy build up particularly in corner areas.


	
	No evidence of dust, ingrained dirt, streak marks, smears or heavy build up particularly in corner areas.
	3
	1 day permanent

	15. Furniture (internal/underside) (if cleared for cleaning purposes)


	15.1  Desks, tables, chairs and radiators shall be cleaned appropriately and be suitable for the removal of chewing gum deposits, ingrained dust and accumulated dirt.


	
	No evidence of chewing gum deposits, ingrained dust and accumulated dirt.
	3
	5 day permanent

	16.  High level ledges and surfaces (if cleared for cleaning purposes)
	16.1  High level ledges and surfaces (it cleared for cleaning purposes) shall be cleaned appropriately to ensure protection. free from ingrained dirt and dust and void of all stains and markings.
	
	No evidence of ingrained dirt and dust, void of all stains and markings.
	5
	15 days permanent


	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6


	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent 

	17.  Light fittings, reflectors and diffusers
	17.1  Light fittings, reflectors and diffusers should be cleaned appropriately to ensure their protection.  They shall be free from ingrained dirt, dust and debris and void of all stains and markings.
	
	No evidence of ingrained dirt, dust and debris and void of all stains and markings.
	4
	5 days permanent

	18.  Toilet hygiene 
	18.1  Provision should be made to ensure that toilet facilities will be free of any permanent odours. The cleaning process should ensure protection of all surfaces. All sinks, baths, WC’s, urinals, troughs, cisterns, drinking fountains and shower heads should be free of all stains, ingrained dirt, build up of limescale and dry germ, streak/smear free finish achieved.
	
	No occasion of persistent complaints of unpleasant odours


	2


	2 hours permanent



	
	
	
	No evidence of stains, ingrained dirt, build up of limescale, dry germ, streaks/smears.
	2
	2 hours permanent

	19   Toilet services
	19.1  A constant supply of consumables will be maintained by the Contractor including the following:

toilet paper

hand towels (except where only hand dryers are used)

soap


	
	No failure to provide  toilet paper, hand towels and soap  at the point of use.
	2
	2 hours temporary/2 days permanent



	
	19.2  Vending facilities for feminine hygiene products will be provided in each female toilet as appropriate.
	
	No incidence of failure to provide service through stock depletion or breakdown of vending facilities.
	2
	2 hours temporary/2 days permanent


	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6


	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/

Permanent 

	20.  External window cleaning
	20.1  Fully clean inside and outside of all window glass and frames every 3 months.  Windows are to be free of dust, fingerprinting, stains, markings and verdigris with a dry streak / smear finish achieved after cleaning.
	
	No incidence of failing to clean the windows every 3 months.  

No failure to leave the windows (including frames) free of dirt and smears at the conclusions of each 3 monthly clean
	4

4
	2 days permanent

2 days permanent

	21.  Internal glass partitions
	21.1 All internal glass partitions, surrounds, ledges, paintwork and glass fittings shall be free of dust and void of fingerprinting, stains, markings and verdigris, with a dry streak/smear free finish achieved.
	
	No evidence of an accumulation of slurry, soap or residues from cleaning agents.


	4


	2 days permanent



	
	
	
	No evidence of a build up on edging, around fixtures and in corner areas.
	4
	2 days permanent



	
	
	
	No evidence of streak marks, smears or finger markings.
	4
	2 days permanent



	
	
	
	
	
	

	22.  External Cleaning
	22.1 A programme of collection will be implemented by the Contractor to ensure that there is no accumulation of litter within external areas of the Project Facilities at any time other than in the designated litter collection areas.
	
	No failure to regularly restore the grounds to a litter free condition.
	2
	6 hours permanent

	
	
	
	
	
	


	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6


	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent 

	
	22.2  Waste bins will be provided at entrance points and in other pedestrian areas and will be emptied and cleaned regularly such that they do not overflow and are kept in a sanitary condition.
	
	No occurrence of overflowing receptacles.

No failure to prevent the receptacles from becoming foul smelling and / or heavily soiled.
	2

2
	2 hours permanent

2 hours permanent

	
	22.3 Cigarette disposal receptacles will be provided at all entrance points and will be emptied and cleaned regularly such that they do not overflow and are kept in a sanitary condition.
	
	No occurrence of overflowing receptacles.

No failure to prevent the receptacles from becoming foul smelling and / or heavily soiled
	2

2
	2 hours permanent

2 hours permanent

	
	22.4 A programme of cleaning will be implemented by the Contractor to ensure that there is no accumulation of silt and other matter on roads, hard standings, car parking and pedestrian areas.
	
	No failure to regularly restore the roads and pathways to a condition free of silt and other matter (including chewing gum).
	4
	2 days permanent

	
	22.5 The external fabric of the building will be cleaned as required to maintain the performance requirements.
	
	No failure to regularly restore the building externals to condition free of dirt and removable marks and stains.
	4
	15 days permanent


4.8
 FM Availability and Performance Requirements – Pest Control

	Statement of Service Objectives
	To maintain the Project Facilities free of pest species of public health significance or nuisance value so far as is reasonably practical at all times that they are in use for educational or community purposes. To deal with any such infestation which may arise so as to minimise the risk to public health and disruption to the operation of the Project Facilities.

	Background Information
	[The scope of the Pest Control requirements covers, but not exclusively, rats, mice, cockroaches, ants, sheep and deer.  However, the Contractor is to undertake whatever survey and treatment measures deemed necessary to allow full functionality of the Project Facilities without disruption due to pests.

Surveys for pests should be undertaken in order that identification of infestation (actual or potential) is achieved at the earliest possible stage with a view to prevention rather than the need for reactive resolution to be initiated.

Toxic materials are not to be used in the treatment processes unless there is demonstrable evidence that the use of such materials provides greater overall benefit to the health and welfare of the users of the Project Facilities than the failure to employ such materials. 

Notwithstanding the foregoing requirement, the permanent placement of toxic materials targeted at potential infestations is not acceptable.

The identification of entry points to the Project Facilities used by pests is to be an integral part of the Pest Control measures.

Consideration is to be given to the consequences of the death of the target species within the building structure.

Consideration is to be given to situations where the target species has been confined alive but in a distressed state.]

[The Contractor will be responsible for pest control throughout the Project Facilities including kitchen and dining areas.]


	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent 

	1.  Preventative pest control
	1.1  Preventative pest control measures will be provided where required for compliance with Legislation and otherwise where deemed necessary by the Contractor to ensure that the premises remain free of pests as far as is reasonably practicable.
	
	No failure to maintain the level of preventative treatment assessed as necessary by the Contractor other than in accordance with Legislation. 


	
	1 hr temporary/1 day permanent



	2.  Reactive pest control
	2.1   The Contractor will investigate and respond accordingly to every occasion where the building or grounds become subject to pest infestation. Action and monitoring will continue until the infestation is eradicated. This requirement applies to the infestation by pests which could not have been reasonably foreseen.


	No failure to investigate infestation and implement pest control measures in internal spaces including food preparation and dining areas.


	No failure to investigate infestation and implement pest control measures in external spaces.
	3
	1 hour temporary/1 day permanent

1 day temporary/ 5 days permanent

	
	
	
	
	
	

	
	
	
	
	
	


4.9
 FM Availability and Performance Requirements - Waste Management

	Statement of Service Objectives
	To ensure the safe storage in accordance with Legislation of all waste products generated at the Project Facilities and consequently to maintain a sanitary environment for the Authorised Users.

	Background Information
	The Contractor will co-operate with (and organise where appropriate) any additional requirement by the Council to segregate waste for the purpose of increased re-cycling.




	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent 

	1.  Collect waste products  generated by the use of the Project Facilities
	1.1 The Contractor will provide sufficient waste receptacles to store waste from the Project Facilities on the assumption that waste receptacles will be emptied on a [weekly] basis by the Council or third party contractor.
	
	No occurrence of overflowing waste receptacles.

No failure to prevent the waste receptacles from becoming foul smelling and/or heavily soiled.


	2

2
	2 hours permanent

2 hours permanent

	2.  Provide a sanitary waste disposal service
	2.1 Provide sanitary disposal facilities, including nappy disposal services, in each Project Facility.
	
	No occurrence of overflowing sanitary receptacles.

No failure to prevent the sanitary receptacles from becoming foul smelling and/or heavily soiled.
	2

2
	2 hours permanent

2 hours permanent

	3.  Store Confidential Waste
	3.1 Sufficient secure waste receptacles will be provided to cater for the volume of Confidential Waste generated.
	
	No failure to provide sufficient  secure waste receptacles for Confidential Waste.

No failure to empty Confidential Waste receptacles before they overflow
	1

2
	30 mins  permanent

2 hours permanent

	
	3.2 Arrange for secure transfer of all Confidential Waste deposited in Confidential Waste receptacles to comply with Council requirements
	
	No failure to provide full documentation demonstrating secure disposal of Confidential Waste
	2
	2 hours permanent


4.10
 FM Availability and Performance Requirements - Disaster Management 

	Statement of Service Objectives
	To agree and implement joint disaster planning and management

	Background Information
	The Council will rely on the Contractor for certain aspects of recovery plans and consequently include the Contractor’s management plan in the main procedures.




	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent

	1.  Develop a joint plan to provide for continuity of Accommodation Services in the event of a disaster.
	1.1 The Contractor shall develop and agree with the Council implementation of a disaster management plan.
	
	No failure to put the disaster management plan in place within 3 months of occupation of the Project Facilities.

No failure to  review the disaster management plan annually with Council and updated as necessary.
	2

3
	None after first 3 months

To agreed date/ programme



	
	1.2 Carry out actions associated with implementation of the procedures routinely and in the event of the occurrence of an emergency.  The annual programme will be agreed with the Council and the Project Facilities.
	
	No failure to carry out Contractor responsibilities in accordance with the disaster management plan.
	2
	2 hours permanent


4.11
 FM Availability and Performance Requirements - Fire and Emergency Management

	Statement of Service Objectives
	To produce, maintain and implement fire and emergency management procedures in accordance with Legislation and insurance requirements.

	Background Information
	The Council will provide personnel who are to be briefed and trained as fire wardens by the Contractor.

The Contractor will provide some specific warden duties.

The Contractor will provide personnel who are briefed and trained to act as emergency co-ordinators and who will manage the Fire Wardens’ operations and liaise with the Fire Brigade and any relevant Statutory Authorities.


	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent 

	1.  Advise on and agree fire procedures with the Council
	1.1 The Contractor will produce detailed fire procedures in conjunction with the Council which must be updated and reviewed as circumstances demand.
	
	No failure to have up to date fire procedures in operation.
	
	None

	2.  Implement fire procedures
	2.1  The Contractor must carry out training for all wardens, and other officers, who perform a function under the agreed fire procedures.
	.
	All Fire Wardens and other officers who perform a function under the fire procedure must have been made fully aware of their duties in the event of a fire emergency.

.
	1


	None



	
	
	
	No occasion of new fire warden not receiving training in accordance with fire procedures within 5 days of appointment as a fire warden
	2
	5 days permanent

	
	2.2  The Contractor must carry out fire evacuation drills in accordance with the fire procedures and Legislation, and with close co-operation with the Council prior to such fire drills.

All fire drills must be monitored and recorded and demonstrate compliance with procedures and efficient evacuation.
	
	No failure to produce a report on the evacuation and implement any required training or changes to the procedures required.

No failure to meet statutory frequency for fire evacuation training.
	2

1
	2 hours permanent

1 hour permanent

	
	2.3  The Contractor must provide any training required by the fire procedures and Legislation in respect of the general staff at the Project Facilities.


	
	No failure to implement and record training programme and keep a record of training.
	1
	To agreed programme

	3.  Produce, maintain and implement procedures for emergencies other than those in Major Requirements 4.10 and 4.11
	3.1 The Contractor will produce detailed procedures for a variety of emergency situations in conjunction with the Council which must be updated and reviewed as circumstances demand.

Emergency situations may include but not be limited to:

national emergencies

civil emergencies


	
	No failure to have up to date emergency procedures in place.
	2
	2 hours permanent

	4.  Fire Access
	3.1  The Contractor must provide, keep open and maintain the required access for the fire brigade to the Project Facilities.
	No failure to provide, keep open and maintain the required access for the fire brigade to the Project Facilities.
	
	
	None


4.12
 FM Availability and Performance Requirements – Help Desk

	Statement of Service Objectives
	To provide support service available 24 hours per day for the Council to request the deployment of the Contractor to rectify any Service Failure.

	Background Information
	The Contractor will make all Project Facility users aware of the Helpdesk facility and provide comprehensive instruction as to how service requests are made in terms of level of detail and categorisation of priority.

The Contractor must develop and operate a mechanism for re-charging the cost of service requests which are extra to the contract.

The Contractor will identify requests to be re-charged to the Council and ensure that appropriate authorisation is obtained before works are carried out.




	Column 1
	Column 2
	Column 3
	Column 4
	Column 5
	Column 6

	Major Requirement
	Specific Requirement
	Availability Standard
	Performance Standard
	Priority
	Rectification Temporary/Permanent 

	1.  Helpdesk facility
	1.1  The Contractor shall provide a Helpdesk facility to allow the Council Representative, the Schools Representative, his delegate or letting Agent to report service requests. (The Contractor is to provide guidance to the Council on the operation of the Helpdesk facility and the categorisation of priorities for service requests.)
	
	No failure of availability of the Helpdesk Facility 24 hours per day, each day of the year.
	2
	None

	2.  Operation of Helpdesk facility
	2.1  Helpdesk facility shall provide response to service requests.
	
	No failure to answer calls within 30 seconds.

No failure to log service requests on Helpdesk system.

No failure to attempt to contact caller with report on action taken within 30 minutes.

.
	3

2

3


	30 seconds permanent

None

30 mins permanent



	
	
	
	No failure to provide caller with confirmation of status of service request within 24 hours of the relevant Rectification Period
	3
	1 day permanent



	 
	3.1  Reporting process to provide analysis of Helpdesk requests, caller details and Contractor response.

Regular meetings with each Project Facility to review service delivery and recurring faults.
	
	No failure to provide reports with specified level of detail at monthly intervals.
	2
	2 days permanent

	
	3.2  Provision of regular reports as set out in terms of Part 8 of the Schedule (Performance Monitoring and Service Failure Procedure) on the status of faults and other reactive works, rectification times, progress and completion.
	
	No failure to provide specified level of reports
	1
	1 hour permanent



































Version 3


April 2005





The Highland Council





Education Culture & Sport Committee





Education Culture and Sport Committee – PPP Sub Committee











PPP Project Board





ECS – Director and Heads of Service





ECS - PPP Unit – Management & Monitoring Team





Headteachers of PPP Schools








19/08/2008
page 0

